RE 71-09

REV. 5-2007

STATE OF OHIO

DEPARTMENT OF TRANSPORTATION

SAFETY CHECKLIST FOR ALL FUEL BURNING EQUIPMENT

(This section to be filled in by ODOT staff prior to inspection)

| ODOT Agreement No. |  | County: |  |
| --- | --- | --- | --- |
|  | Route: |  |
| ODOT Contact Person | Section: |  |
|  | Parcel(s): |  |
|  | State Job No.: |  |
| ODOT Contact Person Address and Phone Number | PID: |  |
| Tenant Name and Phone Number | Instructions For Access To Property: |
| Address or Location of State Owned Property | HVAC Contractor Name, Address and Phone # |

This section of form will be completed and signed by HVAC contractor.

HEATER:	(Use one form for each fuel burning appliance)

|  | 1. |  | Type of heater |  |
| --- | --- | --- | --- | --- |
|  | 2. |  | Location of heater |  |

Yes	No

3	Is heater of approved type and of sufficient size and capacity to properly

perform without dangerous overloading?

4.  	Is heater located in an area having sufficient fresh air?

5.  	Is heater located to provide a reasonably short vent pipe?

CHIMNEY:

1.  	Is chimney in satisfactory structural condition?

2.	Is chimney clean?

3.	Is chimney drawing well?

4.	Is there a clean-out opening under the vent pipe?

a. If YES, is it clean?

b. If YES is it covered with a cap?

5.	Are any openings I chimney above vent pipe (such as old openings) for

space heaters on floors above) properly sealed with masonry?..

VENT PIPE:

1.	Is vent pipe in good condition, without evidence of rust or condensation?

2.	Is vent pipe clean inside and out?

3.	Does vent pipe go uphill from heater to chimney?

4.	Is vent pipe installed without a damper?

5.	Does vent pipe fit tightly into chimney?

6.	Does vent pipe extend too far into chimney?

7.	Does vent pipe have a properly sealed safety thimble?

8.	Does vent pipe or heater have a diverter in it?

9.	Are all connections of the vent pipe securely fastened together to prevent

collapse?

10.	Is vent pipe located so that it does not go through a cold area such as an

attic or crawl space?

11.	Is vent pipe properly installed?

CARBON MONOXIDE TEST:

Positive   Negative

1.	Furnace

2.	Hot Water Tank

REMARKS AND RECOMMENDATIONS:

(Give details of any problem needing attention and recommendation to correct same)

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

_____________________________________________________________________________________________

Date/Time: _____________________    Inspector (Signature) ___________________________________________

Inspector (Print Name) _______________________________________________

Company name and phone number _________________________________________________________________