Item 613 Low Strength Mortar Backfill

| District: |  | Date: |  |  | Project No.: |  | Co/Rt/Sec: |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contractor: |  |  |  |  | Project/District Contacts: |  |  |
| Reviewed “√” | Specification Conformance Statement |  | CMS/ CIM | Measurements |  | Conformance Comments |  |
|  | Was the mix proportioned correctly? |  | 613.03 613.04 613.05 613.06 |  |  |  |  |
|  | Was the mix installed w/in 2.5 hours of the water being added? |  | 613.07 |  |  |  |  |
|  | Is the structure or pipe being backfilled properly secured and/or anchored (float shift)? |  | 603 613.08 |  |  |  |  |
|  | Was the placement of the LSM installed uniformly across the excavation (overfill one side of a pipe before the other)? |  | 603 613.08 |  |  |  |  |
|  | Was the pour area contained to stop overflow of LSM? |  | 603 613.08 |  |  |  |  |
|  | Was the LSM poured to the extent (grade) indicated on the plan? |  | 603 613.08 |  |  |  |  |
|  | Were the correct measurements taken for payment and recorded? |  | 613.09 613.10 |  |  |  |  |