Item 638 Water Mains and Service Branches

| District: |  | Date: |  |  | Project No.: |  | Co/Rt/Sec: |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contractor: |  |  |  |  | Project/District Contacts: |  |  |
| Reviewed “√” | Specification Conformance Statement |  | CMS/ CIM | Measurements |  | Conformance Comments |  |
|  | Do the materials conform to the corresponding Material Specs? |  | 638.02 |  |  |  |  |
|  | Were the required notifications made and documented? |  | 638.03 |  |  |  |  |
|  | Are intersecting utilities/structures properly braced and supported? |  | 638.04A |  |  |  |  |
|  | Is the trench width correct (6 to 12” each side of pipe)? |  | 638.04B |  |  |  |  |
|  | Does the Excavation accommodate the pipe bell and allow the barrel to directly rest on the trench floor? |  | 638.04E |  |  |  |  |
|  | Is the trench properly protected w/ sheeting and/or bracing? |  | 638.04F |  |  |  |  |
|  | Is the structural bedding installed correctly (type and thickness) |  | 638.05 |  |  |  |  |
|  | Is the trench remaining free of debris and dewatered during the installation? |  | 638.06B |  |  |  |  |
|  | Is the pipe being properly stored/staged/handled? |  | 638.06E |  |  |  |  |
|  | Is the tracer tape being installed correctly? |  | 638.06J |  |  |  |  |
|  | Have you read the Manufacturers Recommendation for joint assembly? |  | 638.07 |  |  |  |  |
|  | Are thrust blocks, wedges and blocking being used to restrain the pipe, couplings, joints and devices? |  | 638.06K 638.06L |  |  |  |  |
|  | Does the backfilling work comply with 603 Type B and C conduits? |  | 638.08 |  |  |  |  |
|  | Was the hydrostatic test calculated, documented and run correctly? |  | 638.09 |  |  |  |  |
|  | Was the pipe disinfected per AWWA? |  | 638.10 |  |  |  |  |
|  | Are the construction quantities being measured correctly? |  | 638.19 638.20 |  |  |  |  |