ITEM SPECIAL–SETTLEMENT CELLS

Description: This item consists of furnishing, installing, maintaining and protecting settlement cells and obtaining settlement readings as required by the plans or as directed by the Engineer. The Contractor may install additional settlement cells at his expense at locations approved by the Engineer. Take settlement readings weekly during construction and during any specified waiting period. Plot the readings on a graph with settlement (on the negative y-axis) and fill height (on the positive y-axis) versus time (on the x-axis). Use the settlement cell spreadsheet located at http://www.dot.state.oh.us/Divisions/Engineering/Geotechnical/geotechnical_documents/Blank_Settle_Cell_Reading_Plots-English.xls in the OGE website Publications and Documents section to create the graph. Fill out all the yellow spaces in the header as well as in columns B, D and F. In the first row of data (row 9), enter the elevation of the ground surface directly above the transducer just prior to the placement of any fill. This elevation should be the same as the value in cell J3 and the settlement should be 0. Once all the data is entered, clear the contents of all the cells below the bottom row of data to view the graph. Submit a copy of the settlement calculations, the calibration record and the graph to the Engineer, the District Geotechnical Engineer and the Office of Geotechnical Engineering after each settlement reading is taken.

Furnish instrumentation consisting of a settlement plate, a vented vibrating wire pressure transducer, vented signal cable, tubing, a desiccant chamber, a reservoir, a terminal box and a portable readout box. Furnish instrumentation from either Geokon, Incorporated, 48 Spencer Street, Lebanon, New Hampshire, 03766, phone 603-448-1562 or Slope Indicator, 12123 Harbour Reach Drive, Mukilteo, WA, 98275, phone 425-493-6200.

Installation Methods: Install the instrumentation according to the general installation instructions that follow. Check the manual from the manufacturer for other possible steps that may be necessary as well. If bedrock or stable ground are not too deep, there is another installation method which may be used in which the instrumentation is installed inside a borehole. If multiple settlement cells are required, check with the two manufacturers for other pieces of equipment or equipment configurations that are available to simplify the collection of the data and to reduce the number of above ground installations that are needed.

- Install the settlement cell.

- Attach the transducer to the settlement plate.

- Excavate a two-foot-deep trench (two feet, nine inches when 	using 	Slope Indicator vented VW pressure transducers that are installed 	vertically) and place four inches of wet fine sand along the bottom.

- Compact, smooth and level the sand and place the settlement plate	on top.

- Survey the elevation of the center of the tip of the transducer for 	transducers that are installed horizontally. Survey the elevation of 	the line near the top between the cap and the main body of the 	transducer for Slope Indicator transducers.

- Cover the settlement plate and cell with hand-compacted, wet, fine 	sand up to ground level.

- Check that the settlement cell is still functioning properly.

- Install the tubing and cable.

- Check to make sure the four inches of compacted, wet, fine sand 	along the bottom of the trench is fairly level and not undulating.

- Lay the cable and tubes side by side without touching or crossing 	each other.

- Keep some slack in the cable and tubing. Do not stretch the cable 	or tubing tight.

- Check the tubes for signs of air bubbles.

- Hand compact four inches of wet, fine sand over the cable and 	tubes.

- Backfill and hand compact the rest of the trench with Item 203 	Embankment material.

- Install the reservoir.

- Mount the reservoir in a protective cover attached to a wall or a 	stake such that the reservoir is higher than the trench housing the 	settlement transducer. Position the reservoir so that it is not 	exposed to direct sunlight. If using a stake, install it four feet deep 	and cement it into the ground in a plumb position.

- Use metal or rigid plastic conduit to protect the cable and tubing. 	The conduit should start in the trench near the end, bend upwards 	and extend up the stake or wall almost all the way to the protective 	cover.

- Fill the reservoir according to the manufacturer’s directions.

- Attach the tubes to the reservoir. Be careful not to allow any air to 	be trapped inside the tubing.

- Attach the vent tube to the desiccant chamber.

- Connect the signal cable to the terminal box.

- Survey the elevation of the water level in the reservoir and note the 	reading on the scale attached to the reservoir (if applicable).

- Obtain initial readings.

- These are important baseline readings and they should not be 	taken when the reservoir, conduit or tubes are exposed to direct 	sunlight. Take the readings according to the manufacturer’s 	instructions. (Note: a data datalogger can be used instead of a 	portable readout box to take the readings.) Reduce the data 	according to the instructions given in the settlement cell manual 	provided by the manufacturer.

Protective Measures: House the reservoir in a waterproof, lockable protective cover some distance away from the construction area. In this way the ground will be stable, and the reservoir will remain at the same elevation to provide a reliable reference. Also, the reservoir should be located so that it will be out of the way of construction equipment and therefore safe from being run over.

Method of Measurement: The Department will measure settlement cells by the number accepted by the Engineer.

Basis of Payment: The Department will pay for accepted quantities at the contract unit price for each “Item Special – Settlement Cells.”

(Note: A plan detail must accompany this note.)

Settlement Cell 10-21-08