## Start_Screen
Storm Water BMP Selection Tool for Local Roadways
2015-ORIL7: Storm Water Best Management Practices for Local Roadways
Ohio Department of Transportation - Ohio Research Initiative for Locals (ORIL)
State Job Number 134990
Tool Developers: |  | Gresham, Smith and Partners, in Association with Geosyntec Consultants, Inc.
Tool Version and Date: |  | Version 1.0 (September 4, 2015)
Tool Last Modified By: |  | Gresham, Smith and Partners
Tool Objective: |  | This tool is intended to support local roadway projects in the selection of structural storm water best management practices (BMPs), to facilitate compliance with the post-construction storm water management requirements prescribed within the Ohio EPA Construction General Permit (Ohio EPA CGP, Part III.G.2.e). This tool incorporates screening processes to facilitate the selection of BMPs that are appropriate for the user's specific project, development, and site constraints and resources.
IMPORTANT: BEFORE USING THIS TOOL, PLEASE PERFORM THE FOLLOWING STEPS:
1. | This tool is intended to be used for a single BMP application within a project, and requires site and project-specific BMP constraints and design assumptions to be entered into the tool to facilitate BMP screening. To make this tool as useful as possible, please confirm that you have adequately defined the BMP location and area served and collected sufficient data before beginning the screening process.
2. | This tool is provided blank, to be used as a template for future uses of the tool. Before entering any data, please use the "Save As" function (under "File" menu or by selecting the 'F12' key on the keyboard ) to save a copy of this tool and name the file based on your specific BMP application.
3. | Review the Tool Overview for critical guidance pertaining to how to use and interpret the tool, as well as a description of tool functions and features.
4. | Refer to the User Worksheet to document basic information about your project and BMP application. After using this tool, return to the User Worksheet to document results for future reference.
5. | When the above steps are complete, please go to the MAIN MENU to review the tool process and begin entering data on Step 1.

## Tool_Overview
Return to Start Screen
PREVIOUS: Start Screen
NEXT: User Worksheet
Reference: Tool Overview
GUIDANCE: This tab provides an overview of this tool, including the problem statement and research that led to the development of this tool, tool purpose and objectives, and cautions and guidance for how to use and apply this tool.
Background on the Research That Led to This Tool
This tool is the product of a research project titled "Storm Water Best Management Practices for Local Roadways" (September 2015), which was Project #2015-ORIL7 under Ohio's Research Initiative for Locals (ORIL). For further information: http://www.dot.state.oh.us/groups/oril/Documents/Projects/hydraulics_stormwater.html
ORIL is a research agency that is focused on addressing problems that directly impact local roadways in Ohio, in support of Ohio Local Public Agencies (LPAs). ORIL was established by the Ohio Department of Transportation (ODOT) Research Section, in collaboration with the Ohio Local Technical Assistance Program (LTAP). For further information: http://www.dot.state.oh.us/groups/oril/Pages/default.aspx
The problem statement associated with Project #2015-ORIL7 is as follows: "Environmental Protection Agency (EPA) regulations require the implementation of stormwater best management practices (BMPs) into roadway construction projects for post construction runoff. For local jurisdictions, the inclusion of these BMPs is difficult due to limited availability of space (i.e., right-of-way or easement). Urbanized areas pose additional challenges with the presence of sidewalks, houses, and businesses while many rural areas are faced with inadequate right-of-way widths.... While information on BMPs is available, it is not necessarily easily manageable or focused on local roadway applications. A focused synthesis study to collect and analyze stormwater BMPs designed for utilization on Ohio's local transportation system is needed to assist locals in the consideration of BMPs."
Tool Purpose and Objectives:
This tool is intended to support local roadway projects in the selection of structural storm water best management practices (BMPs), to facilitate compliance with the post-construction storm water management requirements prescribed within the Ohio EPA Construction General Permit (Ohio EPA CGP). While users may have a variety of potential BMPs to consider, this tool incorporates screening processes to facilitate the selection of BMPs that are appropriate for the user's specific project, development, and site constraints and resources.
From the ORIL 7 website: "The goal of this research is to establish a methodology for recommending proven stormwater BMPs for use on Ohio's local roadway system that satisfy current regulations and are cost effective in terms of construction and maintenance by local governments. The objective of this research is to develop a matrix of stormwater BMP alternatives for application on linear transportation projects on Ohio's local (roadway) system(s). The results of this research will provide local officials with a simplified tool to assist decision makers in selecting optimal BMPs for specific applications. Ultimately, access to the findings of this research will aid locals in implementing the most efficient and cost effective stormwater BMPs enabling compliance with EPA regulations while adhering to budgetary constraints."
Overview of Tool Content and Functions
This tool includes a series of steps (organized in the form of tabs) that walk the user through the process of selecting potentially applicable BMPs for a specific BMP application. The steps alternate between collecting information about the specific BMP application from the user (including site and project constraints and characteristics) and sharing results of BMP screening decisions based on user inputs along the way. Screening is performed by comparing the compatibility of user input to BMP characteristics (as defined specifically for screening purposes) in the "Detailed BMP Matrix" tab. The tool includes multiple rounds of increasingly more restrictive screening decisions, to allow the user to review interim results and revisit previous inputs to achieve an appropriate level of screening. An overview of the tool process is provided in the "MAIN MENU" tab. For more information about the tool's screening process, please refer to the "About the BMP Screening Process" section below.
Guidance on Tool Applications and Results
This tool is intended to help planners and designers identify potentially applicable BMPs for local roadway projects. The tool facilitates this through a multi-stage screening process, which is intended to progressively reduce the number of potentially applicable BMPs until a small list remains. The short list of BMPs provided by the tool are not guaranteed to be appropriate for any given site, due to the complexity of site-specific and detailed design considerations that are unable to be captured within this tool. The tool is intended to be used to help identify initial options for the designer, after which point, it is the responsibility of the designer to apply design and engineering experience to vet the results and confirm compatibility with detailed site and project-specific conditions. Although efforts have been taken to minimize the potential for over-screening, it is still possible that user inputs and constraints may lead to no compatible BMPs being identified. For guidance on addressing this situation, please refer to "About the BMP Screening Process" below. It is also important to note that this tool makes generalizations about individual BMP types to facilitate the screening process. The developers of this tool recognize that there are many potential design variations for each BMP type, and designers are encouraged to refer to design resources to identify potential design modifications that might help to improve compatibility with design constraints.
It is intended that this tool be used for an individual BMP application, which may be a small portion of a single project. As such, this tool may be used multiple times for a single project (for various applications or at different points in time). This can be accomplished by saving a copy of the tool and modifying the user responses to tailor the tool toward a new site or project application. As many of the questions within the tool are targeted at identifying site or project constraints that might make a particular BMP infeasible, it is recommended that the tool user have sufficient understanding of the area to be served by the BMP, as well as the site where the BMP is likely to be constructed. Although the tool may be used within the planning process, the reliability of tool output is closely tied to the reliability and accuracy of user input. If the details of the potential BMP application are very uncertain, it may not be worthwhile to use the tool until more information is known.
About the BMP Screening Process
This tool facilitates BMP selection by progressively screening down the list of BMPs in three consecutive phases (Steps 3-5). Screening is accomplished by collecting information from the user about the planned BMP application and constraints (on the "A" tab of each step) and comparing those values to the limitations and characteristics of individual BMP types to rule out incompatible BMPs (screening decisions and assessments made on the "B" tab of each step are based on data stored within the "Detailed BMP Matrix"). Phase 1 screening (Step 3) checks for compatibility of BMPs with the user's design methodology and required BMP functions. Phase 2 screening (Step 4) checks for compatibility with technical site constraints and characteristics. Final screening in Phase 3 (Step 5) checks for compatibility with operations and maintenance resources and aesthetic concerns.
Each "B" tab includes a series of individual screening decisions (under "Screening Analysis by Topic"), each of which compares a singular user input (in response to a question on the "A" tab) to related criteria for each BMP type stored in the "Detailed BMP Matrix." For each decision, each BMP type is ruled as either "Compatible" or "Incompatible" with user constraints. It is important to note that "Compatible" indicates only that the user's input on a singular question is not in conflict with the compiled BMP criteria, and does not imply that the BMP is guaranteed to be compatible with all user constraints. The final results of each screening phase are an overall screening assessment for each BMP type, where each BMP is either "Screened Out" (if any of the individual screening decisions on that screening step or previous steps show the BMP is incompatible) or "Not Screened Out" (BMP is carried over to next screening phase).
It is important to note that this tool incorporates a variety of screening criteria, and it is recognized that different users may have differing priorities. Depending on how users respond to the screening questions, there is a potential to "over-screen" BMPs in this tool, leaving the user with no BMPs to choose from at the last step. To minimize this risk, users are encouraged to carefully review the BMP screening results, identify the phases and questions within those phases that led to desirable BMPs being screened out, and revisit responses iteratively as needed to refine the results. In particular, the user may want to deemphasize criteria that are low in importance by responding to those questions less restrictively or not responding to them at all. If the user skips some questions, other questions will be weighed more heavily in the screening process. For this reason, it is critical that users respond as accurately as possible for questions that are more critical to them in the BMP selection process. If users are unable to identify compatible BMPs, they are encouraged to look into fee-in-lieu opportunities.
Tips for Navigating Within the Tool
The tool incorporates a variety of features to assist users with navigating between steps and determining where they are at in the tool process. The "MAIN MENU" tab provides an overview of all of the tool features and the steps within the BMP screening process. That tab incorporates links between steps. All other tabs within the tool include a link back to the "MAIN MENU" at the top left corner of the screen. Users may use that feature to return to the "MAIN MENU" and either return to the same tab or navigate to another tab. In addition, each step in the tool is color coded in the "MAIN MENU" to a color that corresponds to the tabs at the bottom of the screen. Users may click directly on a tab to navigate to the corresponding step in the tool, and may use the arrow to the left of the tabs to access tabs that are not visible on the screen. Each step in the tool also includes navigational links at the top and bottom of the page to easily return to the previous step or progress to the next step in the process.
About the Tool Format
This tool was developed in Microsoft Excel 2010. This format was selected for a variety of reasons, including the following benefits: -Broad distribution of the software allows access and use of the tool by a large number of users; -Tool may be saved as a blank template, with the opportunity to save copies of the tool to populate with application-specific data; -Software features, including tabs, facilitate a step-wise process for user data entry and review of results; and -Software incorporates logical functions to facilitate screening of BMPs based on a variety of detailed inputs.
Guidance on User Data Entry and Tool Formatting
This tool uses color formatting to distinguish between various types of cells, including cells requiring data entry, providing guidance, providing conclusions, and those requiring no action. Please refer to the legend below for further information.
| (Dropdown) | These cells require the user to click on the cell and select a value from a dropdown list, in response to a question or prompt.
| Data Entry | These cells require the user to click on the cell and directly type to enter data, in response to a prompt.
| General | These cells require no action by the user, and include general text such as questions, directions, units, and headings.
| Results | These cells provide conclusions and results developed by the tool, based on user input in other cells.
| Guidance | These cells provide guidance for the overall tab, as well as on select questions.
| Shortcut | These cells provide shortcuts to other locations within the tool. Click on the text to go to the linked destination.
| Screening - BMPs Remaining | These cells indicate BMPs that remain up to the current phase of screening and have not yet been screened out.
| Screening - BMPs Screened Out | These cells indicate BMPs that have been screened out in the current screening phase or previous steps.
| Tool Tab | These cells introduce the various tabs of the tool in the MAIN MENU. Each tab is linked as a shortcut to the respective tool tab / step.
Return to Start Screen
PREVIOUS: Start Screen
NEXT: User Worksheet
Go to MAIN MENU

## User Worksheet
Return to Start Screen
PREVIOUS: Tool Overview
NEXT: MAIN MENU
User Worksheet
GUIDANCE: This tab provides a location to document the basis for data entered into this tool regarding a specific BMP application. This worksheet can also be used to record tool results for future reference and consideration on the project. Responses to the questions below are optional and not required for use of the tool.
STORM WATER BMP SELECTION TOOL FOR LOCAL ROADWAYS 2015-ORIL7: STORM WATER BMPS FOR LOCAL ROADWAYS User Worksheet
| Category | Description
Tool User and Role Description
Project Name and Location
Description of Project and Project Funding
Date / Phase of Project when Tool Used
Project Designer/Engineer
Project Owner
Portion of Project Being Considered for BMP
Objectives and Priorities for BMP Selection
Description of Constraints for BMP Selection
BMPs Identified During Screening Process
Additional Notes
Return to Start Screen
PREVIOUS: Tool Overview
NEXT: MAIN MENU
Go to Final BMP List (Step 6)
LEGEND
| Data Entry | These cells require the user to click on the cell and directly type to enter data, in response to a prompt.
| General | These cells require no action by the user, and include general text such as questions, directions, units, and headings.
| Guidance | These cells provide guidance for the overall tab, as well as on select questions.
| Shortcut | These cells provide shortcuts to other locations within the tool. Click on the text to go to the linked destination.

## MAIN_MENU
Return to Start Screen
PREVIOUS: User Worksheet
NEXT: Detailed BMP Matrix
Main Menu
GUIDANCE: This tab provides an overview of the process for using this tool, as well as shortcuts to individual steps. The title of each step is hyperlinked to the corresponding tab in the tool.
|  | Step Titles | Description of tab / step in tool
|  | Start Screen | <-- This tab identifies steps to be completed before using the tool.
|  | Tool Overview | <-- Refer to this tab for tool background and guidance on how to use the tool, including a legend for cells within the tool.
|  | User Worksheet | <-- (OPTIONAL: Use this tab to document project name, BMP application information, tool user, and tool results.)
| Reference --> | Detailed BMP Matrix | <-- This tab includes all BMP details for screening. You may reference this at any time, or after screening is complete.
| Step 1 --> | Determine Post-Construction Applicability | <-- Use this tab to determine applicability of post-construction requirements toward your project.
| Step 2 --> | Review List of BMPs Included in Tool | <-- Use this tab to review the full list of BMPs that are included in this tool, before beginning the screening process.
| Step 3A --> | Answer Questions for Screening Phase 1 | <-- Use this tab to answer questions for Screening Phase 1, related to BMP methodology and quantity/quality functions.
| Step 3B --> | Review Screening Phase 1 Results | <-- Use this tab to review the results of Screening Phase 1.
| Step 4A --> | Answer Questions for Screening Phase 2 | <-- Use this tab to answer questions for Screening Phase 2, related to potential site and design constraints.
| Step 4B --> | Review Screening Phase 2 Results | <-- Use this tab to review the results of Screening Phase 2.
| Step 5A --> | Answer Questions for Screening Phase 3 | <-- Use this tab to answer questions for Screening Phase 3, related to BMP O&M and aesthetics.
| Step 5B --> | Review Screening Phase 3 Results | <-- Use this tab to review the results of Screening Phase 3.
| Step 6 --> | Review Final BMP List After Screening | <-- Use this tab to review final screening results for all BMPs, along with summarized O&M and capital cost information.
| Reference --> | Water Quality Calculations - ODOT Methodology | <-- Refer to this tab to perform water quality calculations in accordance with ODOT L&D Vol. 2 methodology.
| Reference --> | Water Quality Calculations - General Methodology | <-- Refer to this tab to perform water quality calculations in accordance with Ohio EPA CGP methodology.
|  | Acronyms and Abbreviations List | <-- Refer to this tab for definitions of acronyms used in this tool.
|  | Glossary of Terms | <-- Refer to this tab for definitions of terms used in this tool.
LEGEND
| Tool Tab | These cells introduce the various tabs of the tool. Each tab is linked as a shortcut to the respective tool tab / step.
| General | These cells require no action by the user, and include general text such as questions, directions, units, and headings.
| Guidance | These cells provide guidance for the overall tab, as well as on select questions.
| Shortcut | These cells provide shortcuts to other locations within the tool. Click on the text to go to the linked destination.

## Detailed_BMP_Matrix
| Return to MAIN MENU |  | Go to Final BMP List (Step 6)
PREVIOUS: MAIN MENU
NEXT: Step 1 - Post-Constr. Requirements
Reference: Detailed BMP Matrix
GUIDANCE: This matrix summarizes BMP characteristics that were compiled for the purpose of BMP screening, based on a comprehensive literature review. Please note that the BMP-specific values in the matrix are intended to be limiting values to facilitate screening based on compatibility with user inputs, and are not necessarily typical or recommended values for BMP design. To minimize the potential for overscreening, many of the values account for potential design variations to overcome site limitations. Dropdown filters may be applied below to display matrix content based on screening results.
Category | BMP Name | BMP Tool Screening Results |  |  | BMP Definition / General Information |  | BMP Inclusion in Ohio EPA CGP / ODOT L&D Vol. 2 Manual | [5 empty] | BMP Functions | [7 empty] | Physical Site Constraints |  |  |  |  | Permeable Pavement | BMP Dimensions / Footprint |  | BMP Area and Area Served |  | BMP Compatibility with Inflow Types |  |  | Ponding Characteristics |  | Cost Information | Operations and Maintenance (O&M) |  |  |  | Aesthetics
|  | Phase 1 Screening Results (Use filter to display BMPs based on screening results) | Phase 2 Screening Results (Use filter to display BMPs based on screening results) | Phase 3 Screening Results (Use filter to display BMPs based on screening results) | BMP Description | Alias | ODOT L&D Vol. 2 Manual |  |  |  | Ohio EPA CGP |  | Water Quantity Control Functions |  | Water Quality Control Functions3 | [5 empty] | Hydrologic Soil Group Compatibility |  | Minimum Hydraulic Drop4 (ft) | Min. Bedrock Separation (ft) | Min. GW Table Separation (ft) |  | Minimum BMP Top Width (Including Side Slopes)5 (ft) | Min. BMP Depth (ft) | Max. Size of Trib. Area to BMP (ac) | Min. Footprint (As % of Tributary Area to BMP) | Piped Inflow | Curb Cut or Overland Flow | Channel Inflow | Exposed Permanent Pool6 | Temporary Ponding > 1 ft | Capital Cost Range7 (per Acre Treated) | O&M Level of Effort8 | Vactor Truck Required | Street Sweeper Required | Confined Space Entry Required | Requires Vegetation Other Than Turf Grass / Sod | Subsurface / Not Exposed
[7 empty] | Standard in ODOT L&D Vol. 2 | Name in ODOT L&D Vol. 2 | Standard in ODOT L&D Vol. 2 for Quantity/ Quality | Standard in ODOT L&D Vol. 2 for Quality Only | Standard in Ohio EPA CGP Table 2 | Name in Ohio EPA CGP | Peak Flow Control | Volume Control2 | Treatment Level: Nutrients - Phosphorus | Treatment Level: Nutrients - Nitrogen | Treatment Level: Metals | Treatment Level: Bacteria | Treatment Level: Oil & Grease | Treatment Level: Organics | A/B | C/D
Underground Systems | Hydrodynamic Separator | Not Screened Out | Not Screened Out | Not Screened Out | An underground passive device that is designed to remove solids, oil/grease, floatables and other debris from storm water runoff through gravitational trapping and settling of pollutants. | Hydrodynamic Device, Vortex Settler | Yes | Manufactured Systems | No | Yes | No | N/A | No | No | Low | Low | Low | Low | Low | Low | N/A | N/A | 1 | N/A | N/A | No | N/A | 5 | 25 | N/A | Yes | No | No | N/A | N/A | $$ | Medium | Yes | No | No | No | Yes
| Underground Detention and Sedimentation Vault | Not Screened Out | Not Screened Out | Not Screened Out | An underground storage structure that is designed to provide peak flow control. | Subsurface Vault, Underground Detention | Yes | Underground Detention (Extended Detention) | Yes | No | No | N/A | Yes | No | Low | Low | Low | Low | Low | Low | N/A | N/A | 2 | N/A | N/A | No | N/A | 4 | N/A | 1 | Yes | No | No | N/A | N/A | $$$$ | Medium | Yes | No | Yes | No | Yes
| Modular Manufactured Filtration Systems | Not Screened Out | Not Screened Out | Not Screened Out | An underground system of modular filters packed with engineered media that can be arranged in a catch basin, manhole, or vault to provide treatment through filtration and sedimentation. The upflow version of this BMP pushes water up and out through treatment filter packs and is designed to accommodate high flow rates. | Cartridge Filter, Filter Vault, Sand & Other Media Filtration, Fluidized Bed Filter, Upflow Media Filter | No | Manufactured Systems - Note this BMP does not appear on ODOT Qualified Products List | N/A | N/A | No | N/A | No | No | Medium | Low | Medium | Low | Medium | Medium | N/A | N/A | 2 | N/A | N/A | No | N/A | 4 | 25 | N/A | Yes | No | No | N/A | N/A | $$$ | High | Yes | No | No | No | Yes
| Multi-Chamber Treatment Train | Not Screened Out | Not Screened Out | Not Screened Out | An underground treatment system with three chambers for grit removal, sedimentation, and filtration through media. | MCTT, Subsurface Treatment Train | No | Manufactured Systems - Note this BMP does not appear on ODOT Qualified Products List | N/A | N/A | No | N/A | No | No | Medium | Medium | Medium | Medium | High | Medium | N/A | N/A | 1 | N/A | N/A | No | N/A | 5 | 2 | N/A | Yes | No | No | N/A | N/A | $$$$ | High | Yes | No | Yes | No | Yes
| Subsurface Bed Filters | Not Screened Out | Not Screened Out | Not Screened Out | A structure with an underground filter media bed that provides treatment when inflows percolate through the bed, with outflow through underdrains or infiltration. | Sand & Other Media Filtration, Media Filter Vault, Sand and Organic Filters, Delaware Sand Filter | No | N/A | N/A | N/A | No | N/A | No | No | Medium | Low | Medium | Low | Medium | Low | N/A | N/A | 2 | 0 | 2 | No | 2 | 2 | 2 | N/A | Yes | No | No | N/A | N/A | $$$$ | High | No | No | Yes | No | Yes
| Infiltration Gallery | Not Screened Out | Not Screened Out | Not Screened Out | An underground storage structure that is designed to provide infiltration. | Pipe Gallery, Infiltration Vault | No | N/A | N/A | N/A | No | N/A | Yes | Yes | High | High | High | High | High | High | Yes | No | 2 | 3 | 3 | No | 5 | 3 | 5 | 1 | Yes | No | No | N/A | N/A | $$$$ | Medium | No | No | Yes | No | Yes
| Subsurface Flow Wetland | Not Screened Out | Not Screened Out | Not Screened Out | An underground engineered system that can include a combination of wetland vegetation, porous media, and associated microbial and physiological ecosystems to provide pollutant removal via primarily oxidation‐reduction mechanisms and microbial processes. | Gravel Wetland, Submerged Wetland | No | N/A | N/A | N/A | No | N/A | No | No | Medium | Medium | Medium | Medium | Medium | Medium | Yes | Yes | 1 | 2 | 2 | No | 6 | 3 | 25 | 5 | Yes | No | Yes | No | Yes | $$$$ | Medium | No | No | No | No | Yes
Linear Systems | Vegetated Filter Strip | Not Screened Out | Not Screened Out | Not Screened Out | A linear flow-through, system with gently sloped vegetated strips of land, with or without soil amendments, to treat sheet flow runoff from adjacent impervious areas via filtration, sedimentation, infiltration, biochemical processes and plant uptake. | Grass Filter Strip, Buffer Strips, Vegetated Buffer, Compost-Amended Vegetated Filter Strip | Yes | Vegetated Filter Strip | No | Yes | No | N/A | No | Incidental | Medium | Medium | Medium | Medium | Medium | Medium | Yes | Yes | N/A | 2 | 2 | No | 10 | 0 | N/A | 2 | No | Yes | No | No | No | $ | Low | No | No | No | No | No
| Shoulder Media Filter Drain | Not Screened Out | Not Screened Out | Not Screened Out | A linear side slope flow-though treatment system that includes grass strip and media filter bed treatment zones and an associated underdrain or surface conveyance system. | Bioslope, Ecology Embankment | No | N/A | N/A | N/A | No | N/A | No | Limited | High | High | High | High | High | High | Yes | Yes | N/A | 2 | 2 | No | 10 | 1.5 | N/A | 2 | No | Yes | No | No | No | $$$ | Low | No | No | No | No | No
| Infiltration Trench | Not Screened Out | Not Screened Out | Not Screened Out | A long, narrow, stone-filled trenches that are designed to store and subsequently infiltrate runoff through the sides and bottom of the trench. | Gravel Trench | Yes | Infiltration Trench | Yes | No | Yes | Infiltration Basin or Trench | Secondary | Yes | High | High | High | High | High | High | Yes | No | N/A | 3 | 3 | No | 2 | 1.5 | 5 | 2 | No | Yes | No | No | No | $$$ | Low | No | No | No | No | No
| Vegetated Biofilter / Swale | Not Screened Out | Not Screened Out | Not Screened Out | A shallow, flow-through channels with dense, low-lying vegetation covering the side slopes and all or most of the bottom area that are designed to remove pollutants through sedimentation, filtration, and infiltration while conveying flows downstream. | Bioswale, Grassed Swale | Yes | Vegetated Biofilter | No | Yes | No | N/A | No | Incidental | Low | Medium | Low | Low | Low | Low | Yes | Yes | N/A | 1 | 1 | No | 6 | 1.5 | 10 | 3 | Possibly | Yes | Yes | No | No | $$ | Low | No | No | No | No | No
| Wetland Channel | Not Screened Out | Not Screened Out | Not Screened Out | A densely vegetated flow-through waterway that provides treatment via sedimentation and biological uptake while conveying flows downstream. | Wetland Swale | No | N/A | N/A | N/A | No | N/A | No | No | Low | Medium | Medium | Medium | Low | Medium | Yes | Yes | N/A | 2 | 0 | No | 6 | 1.5 | 25 | 3 | Yes | Yes | Yes | Yes | Yes | $$$ | High | No | No | No | Yes | No
Basin Systems | Bioretention With Underdrain | Not Screened Out | Not Screened Out | Not Screened Out | Vegetated, shallow depressions that typically include engineered planting media, underdrain outlet, and optional liner. Bioretention with underdrain can either be designed to partially infiltrate runoff (such as through the use of a raised underdrain) or function as a flow-through, media filtration facility with minimal reduction in runoff volume. | Biofiltration, Bioretention with Internal Water Storage, Bioretention Area/Cell, Bioretention Cell, Bioretention Practice | Yes | Bioretention Cell | Yes | No | Yes | Bioretention Area/Cell | Yes | Limited | High | Medium | High | Medium | Medium | High | Yes | Yes | 2 | 2 | 2 | No | 2 | 2.5 | 5 | 3 | Possibly | Yes | Yes | No | Yes | $$$ | Medium | No | No | No | No | No
| Bioretention Without Underdrain | Not Screened Out | Not Screened Out | Not Screened Out | Vegetated, shallow depressions which may include engineered planting media (as opposed to sand or native or amended soils), in addition to an underlying aggregate layer that temporarily store storm water prior to infiltration. | Rain Garden, Rainwater Garden, Bioinfiltration, Bioretention Practice | No | Bioretention Cell | Yes | No | No | N/A | Yes | Yes | High | High | High | High | High | High | Yes | No | N/A | 3 | 3 | No | 2 | 1.5 | 5 | 5 | Possibly | Yes | Yes | No | Yes | $$$ | Medium | No | No | No | No | No
| Constructed Wetland | Not Screened Out | Not Screened Out | Not Screened Out | A basin system that mimics natural wetland systems by incorporating a permanent pool, wetland vegetation and soils, internal berms, baffles, and outlet controls to provide pollutant removal via sedimentation, filtration, and plant uptake. | Storm Water Wetland, Wetland Extended Detention Basin, Pocket Wetland | Yes | Constructed Wetlands | Yes | No | Yes | Constructed Wetland, Pocket Wetland | Yes | No | Medium | Medium | Medium | Medium | Medium | Medium | Yes | Yes | N/A | 2 | 0 | No | 15 | 3 | N/A | 3 | Yes | No | Yes | Yes | Yes | $$$$ | High | No | No | No | Yes | No
| Wet Extended Detention Basin | Not Screened Out | Not Screened Out | Not Screened Out | A basin with detention above a permanent pool that temporarily detains water through outlet controls for an extended period of time (e.g., 48 hours) to reduce peak flow rates and provide sedimentation and other secondary treatment processes (filtration and/or uptake by vegetation). | Wet Pond, Retention Basin, Wet Extended Detention with Wetland Fringe, Wet Detention Basin | Yes | Retention Basin | Yes | No | Yes | Wet Extended Detention Basin | Yes | No | Low | Medium | Medium | Medium | Low | Medium | Yes | Yes | N/A | 0 | 0 | No | 15 | 3 | N/A | 2 | Yes | No | Yes | Yes | Yes | $$$$ | High | No | No | No | No | No
| Dry Extended Detention Basin | Not Screened Out | Not Screened Out | Not Screened Out | A grass-lined basin that temporarily detains water through outlet controls for an extended period of time (e.g., 48 hours) to reduce peak flow rates and provide sedimentation and other secondary treatment processes (filtration, uptake by vegetation, and/or infiltration). | Detention Basin, Dry Pond, Dry Extended Detention Basin, Extended Detention with Forebays and Micropool | Yes | Extended Detention | Yes | No | Yes | Dry Extended Detention Basin | Yes | Incidental | Low | Low | Low | Low | Low | Low | Yes | Yes | N/A | 2 | 2 | No | 15 | 3 | N/A | 1 | Yes | No | Yes | No | Yes | $$$ | Medium | No | No | No | No | No
| Infiltration Basin | Not Screened Out | Not Screened Out | Not Screened Out | An earthen, vegetated basin with a flat bottom that stores and subsequently infiltrates runoff through the bottom of the basin. | Infiltration Basin, Infiltration Trench, Exfiltration Trench | Yes | Infiltration Basin | Yes | No | Yes | Infiltration Basin or Trench | Yes | Yes | High | High | High | High | High | High | Yes | No | N/A | 3 | 3 | No | 15 | 3 | N/A | 5 | Yes | No | Yes | No | Yes | $$$ | Low | No | No | No | No | No
| Surface Bed Filter | Not Screened Out | Not Screened Out | Not Screened Out | A structure with a sedimentation chamber and a surface filter media bed that provides treatment by first removing large particles, oil and trash from inflows, and subsequently percolating flows through the bed. Outflow from the filter system can be through underdrains or infiltration. | Sand & Other Media Filtration, Sand and Organic Filters, Austin Sand Filter | No | N/A | N/A | N/A | Yes | Sand & Other Media Filtration | Yes | Incidental | Medium | Low | Medium | Medium | Medium | Low | Yes | Yes | 3 | 2 | 2 | No | 6 | 2.5 | 25 | 5 | Yes | Possibly | Yes | No | Yes | $$$$ | Medium | No | No | No | No | No
Pavement Systems | Permeable Pavement - Infiltration | Not Screened Out | Not Screened Out | Not Screened Out | Pavement that allows for percolation through surface void spaces into underlying material. | Porous Pavement, Pervious Pavement, Pervious Concrete, Pervious Asphalt, Pervious Pavers | No | N/A | N/A | N/A | Yes | Perm. Pavement - Infiltration | Secondary | Yes | High | High | High | High | High | Medium | Yes | No | N/A | 3 | 3 | Yes | N/A | 1 | N/A | N/A | No | Possibly | No | No | No | $$$ | Low | No | Yes | No | No | Yes
| Permeable Pavement - Extended Detention | Not Screened Out | Not Screened Out | Not Screened Out | Pavement that allows for percolation through surface void spaces into an underlying aggregate layer to temporarily detain water through outlet controls for an extended period of time (e.g., 48 hours) to reduce peak flow rates and provide sedimentation and other secondary treatment processes (filtration and/or infiltration). | Porous Pavement, Pervious Pavement, Pervious Concrete, Pervious Asphalt, Pervious Pavers | No | N/A | N/A | N/A | Yes | Perm. Pavement - Ext. Detention | Yes | Incidental | Medium | Medium | Medium | Medium | Medium | Low | Yes | Yes | 2 | 2 | 2 | Yes | N/A | 2 | N/A | N/A | No | Possibly | No | No | No | $$$ | Low | No | Yes | No | No | Yes
| Permeable Friction Course (PFC) Overlay | Not Screened Out | Not Screened Out | Not Screened Out | A flow-through layer of porous asphalt that is overlain onto a conventional concrete or asphalt surface to improve safety, reduce undercarriage washing from road spray, and provide sedimentation for storm water runoff. | Open Graded Friction Course | No | N/A | N/A | N/A | No | N/A | No | No | Low | Low | Low | Low | Low | Low | N/A | N/A | N/A | 2 | 2 | Yes | N/A | 0 | N/A | N/A | No | Possibly | No | No | No | $$ | Low | No | Yes | No | No | Yes
| Permeable Shoulder w/ Stone Reservoir | Not Screened Out | Not Screened Out | Not Screened Out | Pavement along road shoulders that allows for percolation through surface void spaces into an underlying aggregate layer for conveyance via underdrain. | Pervious Pavement Shoulder, Permeable Gutters | No | N/A | N/A | N/A | No | N/A | Secondary | Incidental | Medium | Low | Medium | Medium | Medium | Low | Yes | Yes | N/A | 2 | 2 | Yes | 2 | 2 | N/A | N/A | No | Possibly | No | No | No | $$ | Low | No | Yes | No | No | Yes
NOTES:
1 - ODOT L&D Vol. 2 includes manufactured systems, which may include a variety of BMPs, but only hydrodynamic separators are included in the ODOT Qualified Products List.
2 - Volume control refers to the ability of a BMP to reduce the total volume of runoff discharged from a site, due to infiltration. It does not refer to detention of the water quality volume, as driven by Ohio EPA CGP requirements for post-construction storm water. BMPs shown as "No" are unlikely to infiltrate due to an impervious structure (e.g., subsurface bed filter), or because the BMP design characteristics are intended to retain a permanent pool (e.g., constructed wetland). BMPs shown as "Incidental" do not rely on infiltration as a primary means of draining, but they do expose storm water to a pervious surface, and incidental infiltration may occur if soil conditions allow. BMPs shown as "Limited" also do not rely on infiltration as a primary means of draining, and are not intended to infiltrate large volumes of storm water, but are designed to encourage infiltration to the extent that soil conditions allow. These BMPs (including bioretention with a raised underdrain) are typically used in applications where groundwater recharge is required despite soil conditions not being conducive to infiltration (HSG C/D). BMPs shown as "Yes" are intended to promote infiltration and use infiltration as a primary means of draining. These may be capable of infiltrating large volumes of storm water, such as the water quality volume, if soil conditions allow (HSG A/B).
3 - Water quality treatment levels were determined through a three-step process that 1) identified relative effectiveness of unit processes (e.g., infiltration, filtration, sedimentation) per pollutant, 2) identified the relative robustness of unit processes per BMP, and 3) determined a final BMP effectiveness score (High, Medium, or Low value) as a cross-product of the relative unit process effectiveness and robustness scores. Known BMP performance data was used as a check against the final BMP effectiveness values.
4 - Hydraulic drop is measured from the invert of the inlet to the BMP to the invert to the outlet of the BMP. This characteristic can restrict BMP selection in cases where the BMP requires a larger hydraulic drop than site topography or drainage system characteristics allow. Hydraulic drop is shown as N/A for BMPs where hydraulic drop is not a significant factor for BMP selection. Please note that for permeable pavement - extended detention, the hydraulic drop is measured from the top surface of the pavement (where storm water enters the BMP) to the invert of the outlet.
5 - Minimum top width of BMPs is included as a screening criteria to assess compatibility with roadside site constraints, and is measured perpendicularly to the roadway centerline based on an assumed BMP orientation. These values were calculated for BMPs based on a constructible bottom width, side slopes and a minimal freeboard conditions. For vegetated biofilters/swales, the width was assumed to be the cross-sectional width (perpendicular to the likely direction of flow, assuming the swale is parallel to the road). For filter strips, the width was assumed to be measured from upstream end (roadway shoulder) to downstream end (away from the road), in the direction of flow. To minimize the potential for over-screening BMPs that might be adapted to fit an application, dimensions are assumed to be as small as possible. Vertical side slopes are assumed if it is typical to construct the BMP with hardscape materials such as asphalt, concrete, modular block, etc., without significantly impacting the intended BMP functions (e.g., a linear bioretention system with vertical walls installed between the curb and sidewalk in an urban area).
6 - To minimize the potential for overscreening, dry extended detention basins are shown as having no permanent pool, although the Ohio EPA CGP requires a small micropool.
7 - Capital cost levels are defined per acre treated as follows: $ Very Low (<$5,000/ac), $$ Low ($5,001-$15,000/ac), $$$ Medium ($15,001-30,000/ac), $$$$ High (>$30,000/ac)
8 - O&M level of effort was based on identifying BMP maintenance task 1) quantity, 2) frequency, and 3) resource level and assigning a relative ranking (High, Medium, or Low) based on tabulation and assessment of these metrics. In general, BMPs deemed “high” for O&M level of effort require more tasks at a higher frequency and may require specialized equipment and/or confined space entry.
9 - Sources of values in the Detailed BMP Matrix, as well as explanations for value ranges, are provided in the following document: Gresham, Smith and Partners and Geosyntec Consultants (GS&P and Geosyntec). (2015). Final Report, Storm Water Best Management Practices for Local Roadways/ 2015-ORIL 7. September.
Return to MAIN MENU
PREVIOUS: MAIN MENU
NEXT: Step 1 - Post-Constr. Requirements
Go to Final BMP List (Step 6)
LEGEND
| Screening - BMPs Remaining | These cells indicate BMPs that remain after each phase of screening and were not screened out.
| Screening - BMPs Screened Out | These cells indicate BMPs that have been screened out during the screening process on one or more incompatibilities with user input.
| General | These cells require no action by the user, and include general text such as questions, directions, units, and headings.
| Guidance | These cells provide guidance for the overall tab, as well as on select questions.
| Shortcut | These cells provide shortcuts to other locations within the tool. Click on the text to go to the linked destination.

## 1_PostConstruction_Requirements
Return to MAIN MENU
PREVIOUS: Detailed BMP Matrix
NEXT: Step 2 - Initial BMP List
Step 1 - Determine Applicability of Post-Construction Requirements
GUIDANCE: It is strongly recommended that users complete this step to understand potential project applicability or exemption from post-construction requirements. Please note that this worksheet is intended to facilitate project planning only, and is not intended to provide proof of regulatory exemptions or requirements. If project applicability is uncertain, users are encouraged to confirm applicability or exemptions through review of the permit, ODOT L&D Vol. 2 and local storm water manuals, or consultation with regulatory officials.
Step 1.1 - Confirm Potential Applicability of State Post-Construction Regulatory Requirements
| Does any portion of project drain to a separate storm sewer, open channel, or receiving water? |  | (Dropdown) | Answer "no" only if the entire project drains to combined sanitary sewers. The remainder of this tool should be filled out only for the portions of the project that are NOT draining to a combined sanitary sewer.
| Is project located within Big Darby Creek watershed or Olentangy River watershed? |  | (Dropdown) | Projects in these watersheds are subject to Ohio EPA Alternative Construction General Permits, which have unique regulatory requirements. Users are advised to review potentially applicable Ohio EPA Alternative CGPs from Ohio EPA (see links at right). | Ohio EPA Olentangy CGP Link | Ohio EPA Big Darby CGP Link
| Permit Applicability |  |  | Please complete all data entries for this section, if possible.
Step 1.2 - Determine Disturbance Area Threshold (in Portions of Project Not Draining to Combined Sewers)
| Enter Project Earth Disturbing Activity (EDA), in acres: |  | (Enter value) | Project EDA should account for all areas within the limits of construction that is being disturbed as part of the project design, as established by the project engineer. Note: A disturbance area less than 1 acre is below the Ohio EPA CGP threshold. Ohio EPA defines small construction activity as 1-5 acres and a large activity as over 5 acres.
| Disturbance Area Assessment |  |  | Please complete all data entries for this section, if possible.
Step 1.3 - Determine if Project May Qualify for Routine Maintenance Exclusion (Note: Only small construction activities are potentially eligible.)
| Are all earth disturbing activities associated with standard roadway operations and/or maintenance? |  | (Dropdown) | Please refer to the Ohio EPA guidance (see link at right) and ODOT L&D Vol. 2 for project types that are considered to be routine maintenance activities. Note: Ohio EPA provides a list of routine road maintenance activities that do not require permit coverage if they disturb 5 acres or less. | Ohio EPA Link
| Is the project being performed to maintain the original line, grade, hydraulic capacity, or to maintain the original purpose of the facility? |  | (Dropdown) | Review project attributes to determine whether there are deviations from existing roadway alignment, grade, or hydraulic capacity. If unknown, please enter "No" for planning purposes.
| Will the project disturbance area be entirely contained within the original facility or structure footprint? |  | (Dropdown) | If the disturbance area extends outside of the original facility footprint, the Ohio EPA does not consider the activity to be routine maintenance, and Ohio EPA CGP coverage will be required.
| Routine Maintenance Assessment: |  |  | Please complete all data entries for this section, if possible.
Step 1.4 - Confirm Applicability of Post-Construction BMP Requirements
| Post-Construction Applicability: |  |  | Please complete sections above to determine if BMP requirements apply to your project.
Return to MAIN MENU
PREVIOUS: Detailed BMP Matrix
NEXT: Step 2 - Initial BMP List
LEGEND
| (Enter value) | These cells require the user to click on the cell and directly type to enter data, in response to a prompt.
| (Dropdown) | These cells require the user to click on the cell and select a value from a dropdown list, in response to a question or prompt.
| General | These cells require no action by the user, and include general text such as questions, directions, units, and headings.
| Results | These cells provide conclusions and results developed by the tool, based on user input in other cells.
| Guidance | These cells provide guidance for the overall tab, as well as on select questions.
| Shortcut | These cells provide shortcuts to other locations within the tool. Click on the text to go to the linked destination.

## 2_Initial_BMP_List
Return to MAIN MENU
PREVIOUS: Step 1 - Post-Constr. Requirements
NEXT: Step 3A - Screening Phase 1 Questions
Step 2 - Review Initial List of BMPs Included in Tool
GUIDANCE: This tab provides an overview of the full list of BMPs included in the tool, before beginning the screening process. The table below provides the full list of BMPs, along with their inclusion in the Ohio EPA CGP and ODOT L&D Vol. 2.
|  |  | ODOT L&D Vol. 2 Basis |  | Ohio EPA CGP Basis
Category | Full BMP List | Alias | ODOT L&D Vol. 2 Standard | ODOT L&D Vol. 2 BMP Name | Standard BMP (in Ohio EPA CGP Table 2) | Alternate BMP (Not in Ohio EPA CGP Table 2) | Ohio EPA CGP BMP Name
Underground Systems | Hydrodynamic Separator | Hydrodynamic Device, Vortex Settler | Yes | Manufactured Systems | No | Yes | N/A
| Underground Detention and Sedimentation Vault | Subsurface Vault, Underground Detention | Yes | Underground Detention (Extended Detention) | No | Yes | N/A
| Modular Manufactured Filtration Systems | Cartridge Filter, Filter Vault, Sand & Other Media Filtration, Fluidized Bed Filter, Upflow Media Filter | No | Manufactured Systems - Note this BMP does not appear on ODOT Qualified Products List | No | Yes | N/A
| Multi-Chamber Treatment Train | MCTT, Subsurface Treatment Train | No | Manufactured Systems - Note this BMP does not appear on ODOT Qualified Products List | No | Yes | N/A
| Subsurface Bed Filters | Sand & Other Media Filtration, Media Filter Vault, Sand and Organic Filters, Delaware Sand Filter | No | N/A | No | Yes | N/A
| Infiltration Gallery | Pipe Gallery, Infiltration Vault | No | N/A | No | Yes | N/A
| Subsurface Flow Wetland | Gravel Wetland, Submerged Wetland | No | N/A | No | Yes | N/A
Linear Systems | Vegetated Filter Strip | Grass Filter Strip, Buffer Strips, Vegetated Buffer, Compost-Amended Vegetated Filter Strip | Yes | Vegetated Filter Strip | No | Yes | N/A
| Shoulder Media Filter Drain | Bioslope, Ecology Embankment | No | N/A | No | Yes | N/A
| Infiltration Trench | Gravel Trench | Yes | Infiltration Trench | Yes | No | Infiltration Basin or Trench
| Vegetated Biofilter / Swale | Bioswale, Grassed Swale | Yes | Vegetated Biofilter | No | Yes | N/A
| Wetland Channel | Wetland Swale | No | N/A | No | Yes | N/A
Basin Systems | Bioretention With Underdrain | Biofiltration, Bioretention with Internal Water Storage, Bioretention Area/Cell, Bioretention Cell, Bioretention Practice | Yes | Bioretention Cell | Yes | No | Bioretention Area/Cell
| Bioretention Without Underdrain | Rain Garden, Rainwater Garden, Bioinfiltration, Bioretention Practice | No | Bioretention Cell | No | Yes | N/A
| Constructed Wetland | Storm Water Wetland, Wetland Extended Detention Basin, Pocket Wetland | Yes | Constructed Wetlands | Yes | No | Constructed Wetland, Pocket Wetland
| Wet Extended Detention Basin | Wet Pond, Retention Basin, Wet Extended Detention with Wetland Fringe, Wet Detention Basin | Yes | Retention Basin | Yes | No | Wet Extended Detention Basin
| Dry Extended Detention Basin | Detention Basin, Dry Pond, Dry Extended Detention Basin, Extended Detention with Forebays and Micropool | Yes | Extended Detention | Yes | No | Dry Extended Detention Basin
| Infiltration Basin | Infiltration Basin, Infiltration Trench, Exfiltration Trench | Yes | Infiltration Basin | Yes | No | Infiltration Basin or Trench
| Surface Bed Filter | Sand & Other Media Filtration, Sand and Organic Filters, Austin Sand Filter | No | N/A | Yes | No | Sand & Other Media Filtration
Pavement Systems | Permeable Pavement - Infiltration | Porous Pavement, Pervious Pavement, Pervious Concrete, Pervious Asphalt, Pervious Pavers | No | N/A | Yes | No | Perm. Pavement - Infiltration
| Permeable Pavement - Extended Detention | Porous Pavement, Pervious Pavement, Pervious Concrete, Pervious Asphalt, Pervious Pavers | No | N/A | Yes | No | Perm. Pavement - Ext. Detention
| Permeable Friction Course (PFC) Overlay | Open Graded Friction Course | No | N/A | No | Yes | N/A
| Permeable Shoulder w/ Stone Reservoir | Pervious Pavement Shoulder, Permeable Gutters | No | N/A | No | Yes | N/A
Return to MAIN MENU
PREVIOUS: Step 1 - Post-Constr. Requirements
NEXT: Step 3A - Screening Phase 1 Questions
LEGEND
| General | These cells require no action by the user, and include general text such as questions, directions, units, and headings.
| Guidance | These cells provide guidance for the overall tab, as well as on select questions.
| Shortcut | These cells provide shortcuts to other locations within the tool. Click on the text to go to the linked destination.

## 3A_Screening_Phase_1
Return to MAIN MENU
PREVIOUS: Step 2 - Initial BMP List
NEXT: Step 3B - Screening Phase 1 Results
Step 3A - Answer Questions for Screening Phase 1
GUIDANCE: This first screening phase reduces the list of BMPs initially based on the standards being used for BMP selection and design, as well as based on willingness to consider potential alternative BMPs that would require approval from Ohio EPA. Screening is also performed based on the functions that the BMP is required to provide.
Step 3A.1 - BMP Selection Basis |  |  | Answer the questions below to screen BMPs based on inclusion in ODOT L&D Vol. 2, Ohio EPA CGP, and local manuals.
| Will your project be performing BMP sizing and selection strictly in accordance with ODOT L&D Vol. 2? |  | (Dropdown) | If "Yes," the BMP list will be limited to those BMPs in ODOT L&D Vol. 2. If unsure, respond "No" or "Unknown" to screen out fewer BMPs.
| If you are not strictly following ODOT L&D Vol. 2, are you required to select and design BMPs in accordance with a local storm water manual? |  | (Dropdown) | If "Yes," the full set of BMPs will be retained initially, since the available BMPs provided in the local manuals are unknown.
| If you are not strictly following ODOT L&D Vol. 2 or a local storm water manual, are you willing to consider "Alternative BMPs" (i.e. BMPs not pre-approved by Ohio EPA) in your initial review and planning for project BMPs? |  | (Dropdown) | If "No," the BMP list will be limited to those BMPs listed in Table 2 of the Ohio EPA CGP. If "Yes," the full set of BMPs will be retained initially. Please note that Alternative BMPs require approval from Ohio EPA to count toward water quality requirements.
| BMP Selection Basis |  |  | Please complete all data entries for this section, if possible.
Step 3A.2 - ODOT L&D Vol. 2 Quantity / Quality Control Requirements |  |  | If following ODOT L&D Vol. 2, answer the questions below to determine if the BMP must provide quantity control.
| Will project create one or less acre of new impervious area in the new permanent right-of-way being acquired for the project? |  | (Dropdown) | If you respond "Yes" to one or more of the three questions to the left, ODOT L&D Vol. 2 requires that BMPs provide only quality control, and BMPs will be screened down to those that are listed as addressing quality in ODOT L&D Vol. 2. If all responses are "No", BMPs will be screened to those that are listed as addressing both quantity and quality in ODOT L&D Vol. 2.
| Does project site drain directly to a large river (fourth order or greater, i.e. >100 square mile tributary area to stream) or to a lake and where the development area is less than 5 percent of the watershed area upstream of the development site? |  | (Dropdown)
| Is project performing redevelopment within an ultra-urban setting (i.e. 100 percent impervious or the storm water discharge is directed into an existing storm sewer system), without increasing the existing runoff coefficient? |  | (Dropdown)
| ODOT L&D Vol. 2 Quantity / Quality |  |  | Please complete all data entries for this section, if possible.
Step 3A.3 - Alternative BMP Channel Protection Requirements |  |  | If considering alternative BMPs, answer the questions below to determine if channel protection is required.
| Will the larger plan of development create less than 1 acre of new impervious surface? |  | (Dropdown) | If you respond "Yes" to one or more of the three questions to the left, Ohio EPA may consider the project to have "negligible hydrological impact to the receiving surface water," and you can consider BMPs that do not provide peak flow control. Otherwise, Ohio EPA states that the "WQv discharge rate from the (BMP) shall be reduced to prevent stream bed erosion and protect the physical and biological stream integrity," and peak flow control is required.
| Does project site drain directly into a large river (fourth order or greater) or to a lake and where the development area is less than 5 percent of the watershed area upstream of the development site? |  | (Dropdown)
| Is project performing redevelopment within an ultra-urban setting (downtown area or on a site that is 100 percent impervious and the storm water discharge is directed into an existing storm sewer system)? |  | (Dropdown)
| Channel Protection Requirements |  |  | Please complete all data entries for this section, if possible.
Step 3A.4 - Storm Water Quantity Control Requirements Outside of the Ohio EPA CGP |  |  | Answer the questions below to screen BMPs based on their ability to perform quantity control functions beyond those required by the Ohio EPA CGP.
| Does your BMP need to significantly reduce storm water runoff peak flow rates to meet peak flow rate requirements such as those required for the critical storm method, flood control, or channel protection (as defined in a local storm water manual, ordinance, or other regulatory document outside of the Ohio EPA CGP)? |  | (Dropdown) | Select municipalities may require post-development peak flow rates to be limited to pre-development flow rates for flood control or channel protection (e.g., the critical storm method). Review local requirements (e.g., local storm water manual or ordinance) to determine if your BMP is required to provide peak flow rate control, above and beyond the WQv drawdown requirement in the Ohio EPA CGP. If so, you may answer "Yes" to screen out BMPs that do not provide this function. If not required, or if the requirement is met by a different BMP, select "No" and BMPs will not be screened based on their ability to perform this function.
| Does your BMP need to promote infiltration and reduce the volume of storm water runoff draining from your site, in order to meet requirements for groundwater recharge, green infrastructure, or storm water runoff volume control requirements (as defined in a local storm water manual, ordinance, or other regulatory document outside of the Ohio EPA CGP)? |  | (Dropdown) | In Ohio, minimum requirements for infiltration and runoff volume control may be applicable in combined sewer overflow (CSO) areas or in areas that are subject to an alternative permit (e.g., Big Darby Creek watershed). Confirm if these requirements beyond the Ohio EPA CGP are applicable to your project. If so, you may answer "Yes" to screen out BMPs that do not provide this function. If not required, or if this requirement is met by a different BMP, select "No" and BMPs will not be screened based on their ability to perform this function.
| Additional Quantity Control Requirements |  |  | Please complete all data entries for this section, if possible.
Step 3A.5 - Storm water Quality Control Requirements Beyond the Ohio EPA CGP |  |  | Please indicate below if required to select a BMP that provides treatment for pollutants other than Total Suspended Solids (TSS).
| Potential treatment benefit for nutrients (phosphorus): |  | (Dropdown) | If you are required to treat particular pollutants other than TSS to address a TMDL, Ohio EPA Alternative CGP, local storm water quality requirements, or other unique requirements, please select "Consider in screening," and BMPs that provide minimal to no treatment of the selected pollutant will be screened out. If requirements other than the general statewide Ohio EPA CGP do not apply, then you may select "not needed", and BMP screening will be performed without considering treatment of these pollutants.
| Potential treatment benefit for nutrients (nitrogen): |  | (Dropdown)
| Potential treatment benefit for metals: |  | (Dropdown)
| Potential treatment benefit for bacteria: |  | (Dropdown)
| Potential treatment benefit for oil & grease: |  | (Dropdown)
| Potential treatment benefit for organics: |  | (Dropdown)
| Additional Quality Control Requirements |  |  | Please complete all data entries for this section, if possible.
Return to MAIN MENU
PREVIOUS: Step 2 - Initial BMP List
NEXT: Step 3B - Screening Phase 1 Results
Go to Final BMP List (Step 6)
LEGEND
| (Enter value) | These cells require the user to click on the cell and directly type to enter data, in response to a prompt.
| (Dropdown) | These cells require the user to click on the cell and select a value from a dropdown list, in response to a question or prompt.
| General | These cells require no action by the user, and include general text such as questions, directions, units, and headings.
| Guidance | These cells provide guidance for the overall tab, as well as on select questions.
| Shortcut | These cells provide shortcuts to other locations within the tool. Click on the text to go to the linked destination.

## (HIDE-DropdownLists) (hidden)
Back to Main Menu
SCREENING PHASE DROPDOWNS
|  | YesNo4 |  | HSG
|  | (Dropdown) |  | (Dropdown)
|  | Yes |  | A/B
|  | No |  | C/D
Unknown
YesNo5
| (Dropdown) |  | Wqmin
| Yes |  | (Dropdown)
| No |  | Not needed
| Unknown |  | Consider in screening

## 3B_Screening_Phase_1_Results
Return to MAIN MENU
PREVIOUS: Step 3A - Screening Phase 1
NEXT: Step 4A - Screening Phase 2
Step 3B - Review Screening Phase 1 Results
GUIDANCE: This form summarizes the results of the first phase of screening. BMPs that were not screened out in this phase will be carried over to the second phase of screening. If the remaining pool of BMPs is too small, consider returning to Step 3A and revisiting your responses.
Category | Screened BMP List | Overall Phase 1 Screening Assessment | Results After Phase 1 Screening | Screening Analysis by Topic
|  |  |  | BMP Selection Basis (3A.1, 3A.2) |  | Alternative BMP Channel Protection (3A.3) | Quantity Control Beyond Ohio EPA CGP (3A.4) |  | Quality Control Beyond Ohio EPA CGP (3A.5)
|  |  |  | ODOT L&D Vol. 2 and Quantity / Quality | Local Manual and Alternative BMPs |  | Peak Flow Control | Volume Control | Treatment of Phosphorus | Treatment of Nitrogen | Treatment of Metals | Treatment of Bacteria | Treatment of Oil & Grease | Treatment of Organics
Underground Systems | Hydrodynamic Separator | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Underground Detention and Sedimentation Vault | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Modular Manufactured Filtration Systems | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Multi-Chamber Treatment Train | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Subsurface Bed Filters | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Infiltration Gallery | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Subsurface Flow Wetland | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
Linear Systems | Vegetated Filter Strip | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Shoulder Media Filter Drain | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Infiltration Trench | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Vegetated Biofilter / Swale | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Wetland Channel | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
Basin Systems | Bioretention With Underdrain | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Bioretention Without Underdrain | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Constructed Wetland | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Wet Extended Detention Basin | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Dry Extended Detention Basin | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Infiltration Basin | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Surface Bed Filter | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
Pavement Systems | Permeable Pavement - Infiltration | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Permeable Pavement - Extended Detention | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Permeable Friction Course (PFC) Overlay | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Permeable Shoulder w/ Stone Reservoir | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
NOTES:
Screening results after Phase 1 are shown for each BMP in the "Results After Phase 1 Screening" column. BMPs are ruled as "Screened Out" if they were determined to be "Incompatible" in this phase (under "Overall Phase 1 Screening Assessment") based on at least one of the individual screening decisions under "Screening Analysis by Topic" being "Incompatible." The individual screening decisions, which compare individual user responses on the 3A tab to BMP information stored in the "Detailed BMP Matrix," can be referenced to determine which user-defined criteria were "Incompatible" with BMP requirements. It is important to note that "Compatible" indicates that select user inputs are not in conflict with the compiled BMP criteria, and is not meant to imply that the BMP is guaranteed to be compatible with all user constraints.
Return to MAIN MENU
PREVIOUS: Step 3A - Screening Phase 1
NEXT: Step 4A - Screening Phase 2
Go to Final BMP List (Step 6)
LEGEND
| Screening - BMPs Remaining | These cells indicate BMPs that remain up to the current phase of screening and have not yet been screened out.
| Screening - BMPs Screened Out | These cells indicate BMPs that have been screened out in the current screening phase or previous steps.
| General | These cells require no action by the user, and include general text such as questions, directions, units, and headings.
| Guidance | These cells provide guidance for the overall tab, as well as on select questions.
| Shortcut | These cells provide shortcuts to other locations within the tool. Click on the text to go to the linked destination.

## 4A_Screening_Phase_2
Return to MAIN MENU
PREVIOUS: Step 3B - Screening Phase 1 Results
NEXT: Step 4B - Screening Phase 2 Results
Step 4A - Answer Questions for Screening Phase 2
GUIDANCE: Screening Phase 2 refines the remaining list of BMPs based on design, site, and safety constraints. Before responding to the questions below, users are strongly encouraged to define the portion of the site to be evaluated for treatment, and potential sites for BMPs. All questions should be answered with respect to those locations. The responses to questions below will be used to screen BMPs as compatible or incompatible with user selections.
Step 4A.1 - Siting Constraints - Define the space availability at your site for BMPs, as well as potential drainage area sizes
| Does the project pavement design criteria allow for potential use of permeable pavement in any portion of the paved area (e.g., through lanes, parking lanes, shoulder, gutter)? |  | (Dropdown) | Average daily traffic (ADT) volumes would be helpful, roadway classifications should be known, and interactions with trucks or other heavy equipment should be considered.
| If known, what is the anticipated tributary area draining to your BMP? (in acres) (Note - if unknown, do not enter value). |  | (Enter value) | Some BMPs have limits associated with the amount of area draining to them. Please enter the tributary area expected to drain to the BMP being analyzed (Note - do not enter entire project area).
| What is the maximum area potentially available for the BMP installation within the ROW (in acres)? (Note - If unknown, do not enter value.) |  | (Enter value) | Realistic areas within the ROW need to be identified as being available to be used for post-construction BMPs.
| Is project able to acquire additional land if needed outside of existing ROW? |  | (Dropdown) | Consideration for cost of ROW and environmental clearance of any new ROW needs to be included in the project planning and project scheduling.
| What is the total width of the area available for BMP installation (perpendicular to roadway centerline, in feet)? (Note - If unknown, do not enter value.) |  | (Enter value) | Available width will be compared to the minimum top width of BMPs, including side slopes.
Step 4A.2 - Hydraulic Drop - Define the drop in elevation for flow at your site
| What is the available "hydraulic drop" between the invert elevation of the system draining into the BMP (e.g., inlet invert) and the invert elevation of the receiving drainage system (e.g., outlet invert) (in feet)? (Note - If unknown, do not enter value). |  | (Enter value) | BMPs will be screened out if incompatible with indicated hydraulic drop, unless a lift station (mechanical method) is selected below. If hydraulic drop is unknown, do not enter value and screening will not be affected by hydraulic drop.
| Would you consider incorporating a lift station (mechanical method) to overcome hydraulic constraints, if your site has insufficient hydraulic drop? |  | (Dropdown) | If "Yes" or "Unknown", hydraulic drop will not affect BMP screening. If "No", BMPs will be screened based on indicated hydraulic drop in question above.
Step 4A.3 - Infiltration Constraints - Define the characteristics of your site that may affect the feasibility of infiltration
| What is depth to seasonally high groundwater elevation at potential BMP site (in feet)? (Note - If unknown, do not enter value.) |  | (Enter value) | Depth to groundwater should be estimated from ground elevation at planned BMP site. If site has existing BMP, depth should be from top of ground outside of BMP, not bottom of BMP. The screening process will account for BMP depth to assess separation of BMP bottom (including amended soil and underdrain, where applicable) from groundwater. BMPs may require a minimum groundwater separation to facilitate infiltration, where applicable.
| What is depth to bedrock at potential BMP site (in feet)? (Note - If unknown, do not enter value.) |  | (Enter value) | Depth to bedrock should be estimated from ground elevation at planned BMP site. If site has existing BMP, depth should be from top of ground outside of BMP, not bottom of BMP. The screening process will account for BMP depth to assess separation of BMP bottom (including amended soil and underdrain, where applicable) from bedrock. BMPs may require a minimum bedrock separation to facilitate infiltration, where applicable.
| Select primary Hydrologic Soil Group (A/B/C/D) at site (per USDA). |  | (Dropdown) | If you are uncertain, consult with a professional engineer. For planning purposes, you may refer to a local soil survey or historical site soil data. Note: Infiltration BMPs are not recommended for Type C or D soils.
Step 4A.4 - BMP Inflow - Define how flow will be conveyed to potential BMPs |  |  | These questions ask if your BMP application can accommodate various methods for conveying flow into your potential BMP. If you respond "No" for a particular method, BMPs requiring that type of inflow will be screened out. BMPs will not be screened out if you respond "Yes" or "Unknown."
| Could your project be designed to discharge runoff into the BMP via a piped system? |  | (Dropdown) | If your application is unable to use pipes to convey flow to your BMP, indicate "No," and BMPs requiring piped inflow will be screened out.
| Could your project be designed to discharge runoff into the BMP via curb cuts (if using curb and gutter drainage system)? |  | (Dropdown) | If your application does not have curb/gutters, respond "No."
| Could your project be designed to discharge runoff into the BMP via sheet / overland flow? |  | (Dropdown) | If your application cannot accommodate BMPs that receive flow from overland runoff (i.e., flow must be channelized or piped), respond "No."
| Could your project be designed to discharge runoff into the BMP via open channels? |  | (Dropdown) | If your application cannot route flow to BMPs via open channels, respond "No." If you plan to use channels, make sure to maintain them properly (i.e., no mowing ruts) to allow for un-obstructed flows to the BMP.
Step 4A.5 - Safety Considerations - Indicate ponding limitations at your BMP site |  |  | These questions allows the user to screen out BMPs based on ponding frequency and depth. The need to limit ponding will depend on the BMP location relative to the roadway, and applicable ponding-related safety requirements at that site.
| Will you consider a BMP that includes an exposed permanent pool (always wet, including between storm events)? |  | (Dropdown) | This question focuses on whether you will consider BMPs that have permanent standing water or ponding in between storm events (BMP does not drain dry after a storm event). If you would like to screen out BMPs that have standing water in between storm events, select "No." To minimize the potential for over-screening, BMPs that are considered to be "dry" but have small "micropools" are not screened out based on this response. If standing water between storm events is acceptable, select "Yes," and BMPs will not be screened based on this question. Please note that this question does not screen BMPs based on temporary ponding during storm events (please refer to next question).
| Will you consider a BMP that features more than a foot of temporary ponding during storm events only (dry between storm events)? |  | (Dropdown) | This question focuses on the allowable ponding during storm events. If requirements limit the depth of ponding at all times, answer "No," and BMPs that are likely to exhibit more than one foot of ponding will be screened out. Answer "Yes," and BMPs will not be screened based on this question.
Return to MAIN MENU
PREVIOUS: Step 3B - Screening Phase 1 Results
NEXT: Step 4B - Screening Phase 2 Results
Go to Final BMP List (Step 6)
LEGEND
| (Enter value) | These cells require the user to click on the cell and directly type to enter data, in response to a prompt.
| (Dropdown) | These cells require the user to click on the cell and select a value from a dropdown list, in response to a question or prompt.
| General | These cells require no action by the user, and include general text such as questions, directions, units, and headings.
| Guidance | These cells provide guidance for the overall tab, as well as on select questions.
| Shortcut | These cells provide shortcuts to other locations within the tool. Click on the text to go to the linked destination.

## 4B_Screening_Phase_2_Results
Return to MAIN MENU
PREVIOUS: Step 4A - Screening Phase 2
NEXT: Step 5A - Screening Phase 3
Step 4B - Review Screening Phase 2 Results
GUIDANCE: This form summarizes results after two phases of screening. BMPs that have not been screened out will be carried over to the third phase of screening. If the remaining pool of BMPs is too small, please revisit your responses in Steps 3A-4A.
Category | Screened BMP List | Previous Results After Phase 1 Screening | Overall Phase 2 Screening Assessment | Compiled Results After Phase 2 Screening | Screening Analysis by Topic
[5 empty] | Siting Constraints (4A.1) |  |  |  | Hydraulic Drop and Lift Station (4A.2) | Infiltration Constraints (4A.3) |  |  | BMP Inflow (4A.4) (BMP screened out if all 3 incompatible) |  |  | Safety (4A.5)
[5 empty] | Width | Permeable Pavement | BMP Footprint Area | Area Served / Tributary Area |  | Depth to Groundwater | Depth to Bedrock | HSG | Piped Inflow | Curb Cut / Overland Flow | Channel Inflow | Permanent Pool | Temp Water Surface
Underground Systems | Hydrodynamic Separator | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Underground Detention and Sedimentation Vault | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Modular Manufactured Filtration Systems | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Multi-Chamber Treatment Train | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Subsurface Bed Filters | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Infiltration Gallery | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Subsurface Flow Wetland | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
Linear Systems | Vegetated Filter Strip | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Shoulder Media Filter Drain | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Infiltration Trench | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Vegetated Biofilter / Swale | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Wetland Channel | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
Basin Systems | Bioretention With Underdrain | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Bioretention Without Underdrain | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Constructed Wetland | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Wet Extended Detention Basin | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Dry Extended Detention Basin | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Infiltration Basin | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Surface Bed Filter | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
Pavement Systems | Permeable Pavement - Infiltration | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Permeable Pavement - Extended Detention | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Permeable Friction Course (PFC) Overlay | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
| Permeable Shoulder w/ Stone Reservoir | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible | Compatible
NOTES:
Screening results after Phase 2 are shown for each BMP in the "Compiled Results After Phase 2 Screening" column. BMPs are ruled as "Screened Out" if they were screened out in a previous screening phase (under "Previous Results After Phase 1 Screening"), or if they were determined to be "Incompatible" in this phase (under "Overall Phase 2 Screening Assessment") based on at least one of the individual screening decisions under "Screening Analysis by Topic" being "Incompatible." The individual screening decisions, which compare individual user responses on the 4A tab to BMP information stored in the "Detailed BMP Matrix," can be referenced to determine which user-defined criteria were "Incompatible" with BMP requirements. It is important to note that "Compatible" indicates that select user inputs are not in conflict with the compiled BMP criteria, and is not meant to imply that the BMP is guaranteed to be compatible with all user constraints.
Return to MAIN MENU
PREVIOUS: Step 4A - Screening Phase 2
NEXT: Step 5A - Screening Phase 3
Go to Final BMP List (Step 6)
LEGEND
| Screening - BMPs Remaining | These cells indicate BMPs that remain up to the current phase of screening and have not yet been screened out.
| Screening - BMPs Screened Out | These cells indicate BMPs that have been screened out in the current screening phase or previous steps.
| General | These cells require no action by the user, and include general text such as questions, directions, units, and headings.
| Guidance | These cells provide guidance for the overall tab, as well as on select questions.
| Shortcut | These cells provide shortcuts to other locations within the tool. Click on the text to go to the linked destination.

## 5A_Screening_Phase_3
Return to MAIN MENU
PREVIOUS: Step 4B - Screening Phase 2 Results
NEXT: Step 5B - Screening Phase 3 Results
Step 5A - Answer Questions for Screening Phase 3
GUIDANCE: Screening Phase 3 refines the remaining list of BMPs on the basis of operations and maintenance (O&M) constraints and aesthetic preferences.
Step 5A.1 - O&M Constraints - Define O&M constraints / preferences affecting BMP selection
| Will a vactor truck be available for BMP O&M? |  | (Dropdown) | "Available" means the staff and/or equipment is on hand already, can be acquired, or can be hired through a contractor.
| Will a street sweeper be available for BMP O&M? |  | (Dropdown)
| Will you have staff and equipment available to perform confined space entry for BMP O&M? |  | (Dropdown)
Step 5A.2 - Aesthetics - Define aesthetic preferences affecting BMP selection
| Will you consider BMPs that require native or ornamental plants (not turf grass or sod)? |  | (Dropdown) | Some vegetated BMPs require plants other than turf grass. Select "No" if you must have turf grass.
| Do you require BMPs that are subsurface and not visible to public? |  | (Dropdown) | If "Yes," BMPs not located underground will be screened out.
Return to MAIN MENU
PREVIOUS: Step 4B - Screening Phase 2 Results
NEXT: Step 5B - Screening Phase 3 Results
Go to Final BMP List (Step 6)
LEGEND
| (Dropdown) | These cells require the user to click on the cell and select a value from a dropdown list, in response to a question or prompt.
| General | These cells require no action by the user, and include general text such as questions, directions, units, and headings.
| Guidance | These cells provide guidance for the overall tab, as well as on select questions.
| Shortcut | These cells provide shortcuts to other locations within the tool. Click on the text to go to the linked destination.

## 5B_Screening_Phase_3_Results
Return to MAIN MENU
PREVIOUS: Step 5A - Screening Phase 3
NEXT: Step 6 - Final BMP List
Step 5B - Review Screening Phase 3 Results
GUIDANCE: This sheet summarizes screening results after Phase 3. BMPs that have not been screened out should be considered for implementation. If the remaining pool of BMPs is too small, please revisit your responses in Steps 3A-5A before proceeding to Step 6 to see the final BMP list after screening. Please refer to the Detailed BMP Matrix for further details.
Category | Screened BMP List | Previous Results After Phase 2 Screening | Overall Phase 3 Screening Assessment | Compiled Results After Phase 3 Screening | Screening Analysis by Topic
[5 empty] | O&M (5A.1) |  |  | Aesthetics (5A.2)
[5 empty] | Vactor truck | Street Sweeper | Confined Space Entry | Native Vegetation | Subsurface
Underground Systems | Hydrodynamic Separator | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible
| Underground Detention and Sedimentation Vault | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible
| Modular Manufactured Filtration Systems | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible
| Multi-Chamber Treatment Train | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible
| Subsurface Bed Filters | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible
| Infiltration Gallery | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible
| Subsurface Flow Wetland | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible
Linear Systems | Vegetated Filter Strip | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible
| Shoulder Media Filter Drain | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible
| Infiltration Trench | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible
| Vegetated Biofilter / Swale | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible
| Wetland Channel | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible
Basin Systems | Bioretention With Underdrain | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible
| Bioretention Without Underdrain | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible
| Constructed Wetland | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible
| Wet Extended Detention Basin | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible
| Dry Extended Detention Basin | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible
| Infiltration Basin | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible
| Surface Bed Filter | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible
Pavement Systems | Permeable Pavement - Infiltration | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible
| Permeable Pavement - Extended Detention | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible
| Permeable Friction Course (PFC) Overlay | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible
| Permeable Shoulder w/ Stone Reservoir | Not Screened Out | Compatible | Not Screened Out | Compatible | Compatible | Compatible | Compatible | Compatible
NOTES:
Screening results after Phase 3 are shown for each BMP in the "Compiled Results After Phase 3 Screening" column. BMPs are ruled as "Screened Out" if they were screened out in a previous screening phase (under "Previous Results After Phase 2 Screening"), or if they were determined to be "Incompatible" in this phase (under "Overall Phase 3 Screening Assessment") based on at least one of the individual screening decisions under "Screening Analysis by Topic" being "Incompatible." The individual screening decisions, which compare individual user responses on the 5A tab to BMP information stored in the "Detailed BMP Matrix," can be referenced to determine which user-defined criteria were "Incompatible" with BMP requirements. It is important to note that "Compatible" indicates that select user inputs are not in conflict with the compiled BMP criteria, and is not meant to imply that the BMP is guaranteed to be compatible with all user constraints.
Return to MAIN MENU
PREVIOUS: Step 5A - Screening Phase 3
NEXT: Step 6 - Final BMP List
LEGEND
| Screening - BMPs Remaining | These cells indicate BMPs that remain up to the current phase of screening and have not yet been screened out.
| Screening - BMPs Screened Out | These cells indicate BMPs that have been screened out in the current screening phase or previous steps.
| General | These cells require no action by the user, and include general text such as questions, directions, units, and headings.
| Guidance | These cells provide guidance for the overall tab, as well as on select questions.
| Shortcut | These cells provide shortcuts to other locations within the tool. Click on the text to go to the linked destination.

## 6_Final_BMP_List
| Return to MAIN MENU | Go to User Worksheet
| PREVIOUS: Step 5B - Screening Phase 3 Results | Go to Detailed BMP Matrix
NEXT: WQ Calcs - ODOT
Step 6 - Review Final BMP List After Screening
GUIDANCE: This tab summarizes the final BMP list after three screening phases. BMPs that are listed as "Not Screened Out" under Phase 3 Screening Results meet user-defined criteria in all three phases of screening. If the remaining BMP list is too limiting, users are encouraged to revisit the phases where preferable BMPs were screened out, and confirm user responses to screening questions.
Category | BMP Name | BMP Tool Screening Results |  |  | O&M Level of Effort1 | Capital Cost Range2 (Per Acre Treated)
|  | Phase 1 Screening Results (Steps 3A/3B) | Phase 2 Screening Results (Steps 4A/4B) | Phase 3 Screening Results (Steps 5A/5B)
Underground Systems | Hydrodynamic Separator | Not Screened Out | Not Screened Out | Not Screened Out | Medium | $$
| Underground Detention and Sedimentation Vault | Not Screened Out | Not Screened Out | Not Screened Out | Medium | $$$$
| Modular Manufactured Filtration Systems | Not Screened Out | Not Screened Out | Not Screened Out | High | $$$
| Multi-Chamber Treatment Train | Not Screened Out | Not Screened Out | Not Screened Out | High | $$$$
| Subsurface Bed Filters | Not Screened Out | Not Screened Out | Not Screened Out | High | $$$$
| Infiltration Gallery | Not Screened Out | Not Screened Out | Not Screened Out | Medium | $$$$
| Subsurface Flow Wetland | Not Screened Out | Not Screened Out | Not Screened Out | Medium | $$$$
Linear Systems | Vegetated Filter Strip | Not Screened Out | Not Screened Out | Not Screened Out | Low | $
| Shoulder Media Filter Drain | Not Screened Out | Not Screened Out | Not Screened Out | Low | $$$
| Infiltration Trench | Not Screened Out | Not Screened Out | Not Screened Out | Low | $$$
| Vegetated Biofilter / Swale | Not Screened Out | Not Screened Out | Not Screened Out | Low | $$
| Wetland Channel | Not Screened Out | Not Screened Out | Not Screened Out | High | $$$
Basin Systems | Bioretention With Underdrain | Not Screened Out | Not Screened Out | Not Screened Out | Medium | $$$
| Bioretention Without Underdrain | Not Screened Out | Not Screened Out | Not Screened Out | Medium | $$$
| Constructed Wetland | Not Screened Out | Not Screened Out | Not Screened Out | High | $$$$
| Wet Extended Detention Basin | Not Screened Out | Not Screened Out | Not Screened Out | High | $$$$
| Dry Extended Detention Basin | Not Screened Out | Not Screened Out | Not Screened Out | Medium | $$$
| Infiltration Basin | Not Screened Out | Not Screened Out | Not Screened Out | Low | $$$
| Surface Bed Filter | Not Screened Out | Not Screened Out | Not Screened Out | Medium | $$$$
Pavement Systems | Permeable Pavement - Infiltration | Not Screened Out | Not Screened Out | Not Screened Out | Low | $$$
| Permeable Pavement - Extended Detention | Not Screened Out | Not Screened Out | Not Screened Out | Low | $$$
| Permeable Friction Course (PFC) Overlay | Not Screened Out | Not Screened Out | Not Screened Out | Low | $$
| Permeable Shoulder w/ Stone Reservoir | Not Screened Out | Not Screened Out | Not Screened Out | Low | $$
NOTES:
1 - O&M level of effort was based on identifying BMP maintenance task 1) quantity, 2) frequency, and 3) resource level and assigning a relative ranking (High, Medium, or Low) based on tabulation and assessment of these metrics. In general, BMPs deemed “high” for O&M level of effort require more tasks at a higher frequency and may require specialized equipment and/or confined space entry.
2 - Capital cost levels are defined per acre treated as follows: $ Very Low (<$5,000), $$ Low ($5,001-$15,000), $$$ Medium ($15,001-30,000), $$$$ High (>$30,000)
Return to MAIN MENU
PREVIOUS: Step 5B - Screening Phase 3 Results
NEXT: BMP Sizing - ODOT Methodology
Go to BMP Sizing - General Methodology
Go to Detailed BMP Matrix
Go to User Worksheet
LEGEND
| Screening - BMPs Remaining | These cells indicate BMPs that remain up to the current phase of screening and have not yet been screened out.
| Screening - BMPs Screened Out | These cells indicate BMPs that have been screened out in the current screening phase or previous steps.
| General | These cells require no action by the user, and include general text such as questions, directions, units, and headings.
| Guidance | These cells provide guidance for the overall tab, as well as on select questions.
| Shortcut | These cells provide shortcuts to other locations within the tool. Click on the text to go to the linked destination.

## WQ_Calcs-ODOT
Return to MAIN MENU
PREVIOUS: Step 6 - Final BMP List
NEXT: WQ Calcs - General
Water Quality Calculations - ODOT Methodology
GUIDANCE: This worksheet provides water quality calculation guidance for users that are following the ODOT L&D Vol. 2 post-construction BMP methodology (Section 1115 of ODOT L&D Vol. 2). If not following ODOT L&D Vol. 2 methodology, please use the "WQ Calcs-General" tab instead. Before using this tab, please complete Step 1 to confirm the applicability of post-construction requirements. Please refer to Step 3A (Screening Phase 1) to confirm quality and quantity control requirements per the ODOT L&D Vol. 2.
Determine Project Treatment Requirements Based on Project EDA
| Project Earth Disturbing Activity (Project EDA) | (Enter value) | ac | Determine the area of earth disturbing activity that falls within the project construction limits, as defined in Section 1112.1 of ODOT L&D Vol. 2.
| Existing Project Area Within the ROW, AexistROW | (Enter value) | ac | Enter the portion of the Project EDA that falls within the existing ROW.
| Existing Impervious Area, Aix |  | ac | Per ODOT L&D Vol. 2, the tool assumes 100% of existing ROW is impervious, so Aix = AexistROW.
| New Impervious Area in New Permanent ROW, Ain | (Enter value) | ac | Enter the actual planned impervious area within the new ROW. Do not include grass or other pervious areas. Please note that if this value is greater than 1 acre, quantity control may be required (see Step 3A to confirm quantity / quality control requirements per ODOT L&D Vol. 2).
| Final Project Impervious Area (Aix + Ain) |  | ac | This is the total impervious area after adding new ROW (existing + proposed impervious).
| Required Treatment Percentage, T% = (20%*Aix + 100%*Ain) / (Aix + Ain) |  |  | This is the portion of the Water Quality Volume or Flow that is required to be treated, based on a weighted average of 20% in redevelopment areas and 100% in new development areas.
| Area Requiring Treatment (Project EDA x T%) |  | ac | Per ODOT L&D Vol. 2, Section 1115.7, projects may treat T% of the WQV or WQF for 100% of the Project EDA, or treat 100% of the WQv or WQf for T% of the Project EDA. The value at the left represents T% of the Project EDA, which is the total area that would need to be treated to meet project treatment requirements. Compare this area to the BMP tributary area to determine if the planned BMP meets project treatment requirements, or if a larger tributary area or additional BMPs are required to fully meet project requirements.
Define BMP Tributary Area Characteristics
| Total BMP Tributary Area, At | (Enter value) | ac | Enter the total contributing drainage area to the planned BMP, which is defined as 'A' in Section 1115.4 of ODOT L&D Vol. 2. It should include all area contributing drainage to your planned BMP, including all pervious and impervious surfaces within existing and new ROW areas, as well as pervious and impervious surfaces outside of the ROW.
| Existing ROW area within BMP Tributary Area, AtxROW | (Enter value) | ac | Define the portion of the BMP tributary area comprised of the existing ROW. Per ODOT L&D Vol. 2, 100% of the existing ROW area is assumed to be impervious when performing post-construction BMP calculations, including grass and other pervious areas within the existing ROW.
| New permanent ROW area within BMP Tributary Area, AtnROW | (Enter value) | ac | Define the portion of the BMP tributary area comprised of the new permanent ROW, including both pervious and impervious surfaces within the new permanent ROW.
| Impervious area within new permanent ROW in BMP Tributary Area, AtnROW,i | (Enter value) | ac | Define the portion of AtnROW, defined above, that is impervious. Do not assume that the entire new permanent ROW is impervious. Exclude grass areas and other pervious areas.
| Total ROW area within BMP Tributary Area, AtROW = AtxROW + AtnROW |  |  | This is the total portion of the BMP tributary area that falls within the existing or new ROW. It is calculated by the tool as the sum of the existing and new ROW areas within the BMP tributary area.
| Total area within BMP Tributary Area that is not in existing or new ROW, At,non-ROW = At - AtROW |  | ac | This is the portion of the BMP tributary area that does not fall within the existing or new ROW. It is calculated by the tool by subtracting the total ROW area within the BMP tributary area (AtROW, as defined above) from the total BMP tributary area (At).
| Non-ROW impervious area within BMP Tributary Area, At,non-ROW,i | (Enter value) | ac | Define the portion of At,non-ROW, defined above, that is impervious. Do not assume that the entire area is impervious. Exclude grass areas and other pervious areas.
| Total impervious area within BMP Tributary Area, Ati = AtxROW + AtnewROW,i + Ati,non-ROW |  | ac | This is the total impervious area within the tributary area. It is calculated by the tool as the sum of impervious areas within existing ROW, new ROW, and non-ROW areas within the tributary area. As described above, the existing ROW is assumed to be fully impervious for post-construction BMP calculations.
| i = Impervious Fraction of Tributary Area |  |  | This is the fraction of the total BMP tributary area, At, that is impervious. It is calculated as the total impervious tributary area (Ati defined above), divided by the total BMP tributary area, At.
Does BMP tributary area fully meet project treatment requirements?
Water Quality Volume for BMP Tributary Area |  |  |  | Determine Water Quality Volume (WQV) and BMP sizing requirements for storage-based BMPs (See Detailed BMP Matrix).
| P = Precipitation = | 0.75 | inches | P = 0.75 inches, as defined by Ohio EPA CGP
| Cq = Volumetric Runoff Coefficient = 0.858i3 - 0.78i2 + 0.774i + 0.04 |  |  | This is the volumetric runoff coefficient, as defined in Section 1115.4 of ODOT L&D Vol. 2.
| Total Water Quality Volume, WQV = (P x At x Cq)/12 |  | ac-ft | WQV is defined in Section 1115.4 of ODOT L&D Vol. 2.
| Total Water Quality Volume, WQV = (P x At x Cq)/12 |  | ft3 | WQV converted from acre-feet to cubic feet.
Water Quality Flow for BMP Tributary Area |  |  |  | Determine Water Quality Flow (WQF) and BMP sizing requirements for flow-based BMPs (See Detailed BMP Matrix).
| C = Coefficient of Runoff = | (Enter value) |  | C is an area-weighted runoff coefficient that needs to be calculated outside of the tool, using the runoff coefficients for various surface types (provided in ODOT L&D Vol. 2 Table 1101-2) and the areas of each surface type within your BMP tributary area. For a tributary area with three runoff coefficients (C1, C2, C3) in three subareas (A1, A2, A3), the weighted runoff coefficient should be calculated as: C = (C1*A1 + C2*A2 + C3*A3) / (A1+A2+A3). All area within existing ROW should be given a C value of 0.9.
| i = Average Rainfall Intensity | 0.65 | in/hr | i = 0.65 inches/hour, as defined by Section 1115.5 of ODOT L&D Vol. 2.
| Water Quality Flow, WQF = C x i x A |  | cfs | WQF is defined in Section 1115.5 of ODOT L&D Vol. 2.
Return to MAIN MENU
PREVIOUS: Step 6 - Final BMP List
NEXT: BMP Sizing - General
LEGEND
| (Enter value) | These cells require the user to click on the cell and directly type to enter data, in response to a prompt.
| General | These cells require no action by the user, and include general text such as questions, directions, units, and headings.
| Results | These cells provide conclusions and results developed by the tool, based on user input in other cells.
| Guidance | These cells provide guidance for the overall tab, as well as on select questions.
| Shortcut | These cells provide shortcuts to other locations within the tool. Click on the text to go to the linked destination.

## WQ_Calcs-General
Return to MAIN MENU
PREVIOUS: WQ Calcs - ODOT
NEXT: Acronyms
Water Quality Calculations - General CGP Methodology
GUIDANCE: This worksheet provides water quality calculation guidance for users that are not following the ODOT L&D Vol. 2 post-construction BMP methodology (Section 1115 of ODOT L&D Vol. 2). The methodology below follows the post-construction portion (Part III.G.2.e.) of the Ohio EPA Construction General Permit. If following the ODOT L&D Vol. 2 methodology, please use the "WQ Calcs-ODOT" tab instead. Before using this tab, please complete Step 1 of the tool to confirm the applicability of post-construction requirements.
Determine Project Treatment Requirements Based on Total Project Disturbance Area
| Total Project Disturbance Area, ATot | (Enter value) | ac | Enter the total area of earth disturbance due to project construction.
| Portion of Project that is New Development, Anewdev | (Enter value) | ac | Enter the portion of ATot that is new development. Per the Ohio EPA CGP, 100% of the WQV or WQF is required to be treated for new development areas. This is accounted for in the "Required Treatment Percentage, T%" below.
| Portion of Project that is Redevelopment, Aredev |  | ac | Redevelopment area is calculated as Aredev = AT - Anewdev. Per the Ohio EPA CGP, 20% of the WQV or WQF is required to be treated for redevelopment areas. This is accounted for in the "Required Treatment Percentage, T%" below.
| Required Treatment Percentage, T%, Based on Weighted Average of New Development and Redevelopment Areas |  |  | Per the Ohio EPA CGP: "Where projects are a combination of new development and redevelopment, the total WQV that must be treated shall be calculated by a weighted average based on acreage, with the new development at 100 percent WQV and redevelopment at 20 percent WQV." T% = (20%*Aredev + 100%*Anewdev) / (ATot)
| Area Requiring Treatment (ATot x T%) |  | ac | The value at the left represents T% of ATot, and is the total area that would need to be treated to meet project treatment requirements. Compare this area to the BMP tributary area to determine if the planned BMP meets project treatment requirements, or if a larger tributary area or additional BMPs are required to fully meet project requirements.
Define BMP Tributary Area Characteristics
| Total BMP Tributary Area, At | (Enter value) | ac | Enter the total contributing drainage area to the planned BMP. It should include all area contributing drainage to your planned BMP, including both pervious and impervious surfaces within redevelopment and new development areas.
| Proposed Final Site Impervious Area, Ati | (Enter value) | ac | Enter the proposed final site impervious area, including impervious areas within redevelopment and new development areas.
| i = Post-Construction Impervious Fraction of Tributary Area |  |  | This is the fraction of the total BMP tributary area, At, that is impervious. It is calculated as the final site impervious area (Ati defined above), divided by the total BMP tributary area, At.
Does BMP tributary area fully meet project treatment requirements?
Water Quality Volume Calculation (Based on BMP Tributary Area) |  |  |  | Determine Water Quality Volume (WQV) and BMP sizing requirements for storage-based BMPs (See Detailed BMP Matrix).
| P = Precipitation = | 0.75 | inches | P = 0.75 inches, as defined by the Ohio EPA CGP
| C = Runoff Coefficient |  |  | As defined in the Ohio EPA CGP, 'C' is a runoff coefficient appropriate for storms less than 1 inch. It is calculated by the tool using the equation C = 0.858i3 - 0.78i2 + 0.774i + 0.04.
| Total Water Quality Volume, WQV = (P x Atrib x C)/12 |  | ac-ft | WQV is defined in Part III.G.2.e of the Ohio EPA CGP.
| Total Water Quality Volume, WQV = (P x Atrib x C)/12 |  | ft3 | WQV converted from acre-feet to cubic feet.
Water Quality Flow Calculation (Based on BMP Tributary Area) |  |  |  | Water Quality Flow (WQF) is included on this tab for informational purposes only. The Ohio EPA CGP does not provide an approved methodology for calculating a "Water Quality Flow" equivalent to Water Quality Volume for sizing flow-based BMPs (including "alternative" BMPs not included in Table 2 of the Ohio EPA CGP). However, a Rational Method-based methodology was described by Ohio EPA in "Post-Construction Storm Water Questions and Answers" dated March 20, 2007 on their website (see link at right). If considering a flow-through BMP and not following ODOT L&D Vol. 2 methodology, consult with Ohio EPA to confirm the required BMP sizing basis as part of the alternative BMP approval process. | Ohio EPA "Post-Construction Storm Water Questions and Answers" Link
| C = Coefficient of Runoff = | (Enter value) |  | C is an area-weighted runoff coefficient that needs to be calculated outside of the tool, using the Rational Method runoff coefficients for various surface types (provided in Table 1 of Part III.G.2.e of the Ohio EPA CGP) and the areas of each surface type within your BMP tributary area. For a tributary area with three runoff coefficients (C1, C2, C3) in three subareas (A1, A2, A3), the weighted runoff coefficient should be calculated as: C = (C1*A1 + C2*A2 + C3*A3) / (A1+A2+A3).
| i = Rainfall Intensity = | (Enter value) | in/hr | In accordance with the Rational Method, select a peak rainfall intensity based on the water quality storm event assuming a storm duration equivalent to the time of concentration for the area draining to the BMP.
| Water Quality Flow, WQF = C x i x A |  | cfs | This value represents the total Water Quality Flow, as calculated based on the Rational Method.
Return to MAIN MENU
PREVIOUS: Step 6 - Final BMP List
NEXT: BMP Sizing - General
LEGEND
| (Enter value) | These cells require the user to click on the cell and directly type to enter data, in response to a prompt.
| General | These cells require no action by the user, and include general text such as questions, directions, units, and headings.
| Results | These cells provide conclusions and results developed by the tool, based on user input in other cells.
| Guidance | These cells provide guidance for the overall tab, as well as on select questions.
| Shortcut | These cells provide shortcuts to other locations within the tool. Click on the text to go to the linked destination.

## Acronyms
Return to MAIN MENU
PREVIOUS: WQ Calcs - General
NEXT: Glossary of Terms
Reference: Acronyms & Abbreviations
GUIDANCE: This tab provides definitions of critical acronyms and abbreviations used in this tool to facilitate understanding.
| Acronyms and Abbreviations | Definitions
| ac | Acre(s)
| BMP | Best Management Practice
| cfs | Cubic Feet Per Second
| Constr. | Construction
| EPA / Ohio EPA | Ohio Environmental Protection Agency
| ft | Feet
| in | Inch(es)
| hr | Hour
| min. | Minimum
| N/A | Not applicable
| NPDES | National Pollutant Discharge Elimination System permit program administered by Ohio EPA
| NRCS | Natural Resources Conservation Service (an agency within the USDA), formerly the United States Soil Conservation Service
| ODOT | Ohio Department of Transportation
| ODOT L&D Vol. 2 | Ohio Department of Transportation Location and Design Manual, Volume 2
| Ohio EPA CGP | Ohio EPA Construction General Permit (general NPDES permit for storm water discharges associated with construction activities)
| O&M | Operations and maintenance
| ORIL | Ohio Research Initiative for Locals
| ROW | Right of way
| TMDL | Total Maximum Daily Load
| USDA | United States Department of Agriculture
| WQF | Water Quality Flow (Ohio EPA post-construction treatment standard for flow-based BMPs)
| WQV | Water Quality Volume (Ohio EPA post-construction treatment standard for volume-based BMPs)
Return to MAIN MENU
PREVIOUS: BMP Sizing - General
NEXT: Glossary of Terms
LEGEND
| General | These cells require no action by the user, and include general text such as questions, directions, units, and headings.
| Guidance | These cells provide guidance for the overall tab, as well as on select questions.
| Shortcut | These cells provide shortcuts to other locations within the tool. Click on the text to go to the linked destination.

## Glossary_of_Terms
Return to MAIN MENU
PREVIOUS: Acronyms
Reference: Glossary of Terms
GUIDANCE: This tab provides definitions of critical terms used in this tool to facilitate understanding.
| Terms | Definitions
| Alternative BMPs | BMPs that are not listed in Table 2 of the Ohio EPA CGP, and are thus not pre-approved by Ohio EPA for meeting post-construction BMP requirements. The use of alternative BMPs to meet those requirements would require approval by Ohio EPA.
| Compatible / Incompatible | In the context of this tool, "compatible" is the result of a single screening decision for a single BMP type, where the user-entered data does not conflict with the BMP constraints defined within the Detailed BMP Matrix. In contrast, "incompatible" is the result of a screening decision where the user-entered data is in conflict with one or more BMP constraints for that BMP type. While a BMP may be "compatible" as a result of a single screening decision, the BMP is not guaranteed to be fully compatible with user requirements. Screening is performed at each phase based on a variety of screening decisions, and if any of those decisions indicate an "incompatible" result, the BMP is screened out. For example, the user may indicate a BMP inflow type that is "compatible" with the allowable inflow types for that BMP, but the BMP may be screened out based on the user defining a depth to groundwater that is incompatible with BMP requirements.
| Fourth order stream | Stream order is a measure of the size of the stream based on the Strahler method. Streams range in size from first order (small tributary which has not yet combined with any other tributaries) to twelfth order. A fourth order stream is a medium-sized stream that has at least two third order tributaries. Each third order tributary must in turn have at least two second order tributaries, which must each have at least two first order tributaries.1 Per Ohio EPA, fourth order streams in Ohio tend to have an average tributary area of approximately 100 square miles.
| Hydraulic drop | Difference in elevation (in feet) between the invert elevation of the system draining into the BMP (e.g., inlet invert) and the invert elevation of the receiving drainage system (e.g., outlet invert). Please note that for a BMP receiving flow overland, the inlet invert will be the ground surface at the upstream end of the BMP.
| Hydrologic Soil Group (A/B/C/D) | The USDA divides soils into four "hydrologic soil groups" (HSGs) based on their runoff potential and ability to infiltrate storm water. Soil types falling within HSG A and B are typically recommended for infiltration BMPs based on their increased ability to infiltrate compared to C or D soils.
| Peak flow control | Within this tool, peak flow control refers to the need to control the peak flow rate at which storm water is discharged from a site, typically for a storm event larger than the water quality storm (e.g., critical storm or 100-year storm) to provide flood and channel protection. Typically, peak flow criteria require controlling the peak discharge rate to meet a specific flow limit, such as matching post-development peak flow rates to pre-development peak flow rates. Although the Ohio EPA CGP does establish treatment requirements and drawdown time requirements for storage facilities, it does not establish a particular flow rate limit, and thus is not considered to have peak flow control requirements. Peak flow control requirements are typically regulated by municipalities through storm water ordinances or manuals, where applicable. BMPs that are typically effective at providing provide peak flow control for large storm events, such as dry extended detention basins, incorporate both an outlet restriction and detention volume to attenuate flows. BMPs such as infiltration trenches, which may incidentally reduce discharge rates but do not provide significant detention or control of discharge rates, are not typically considered to be effective for meeting peak flow control requirements.
| Post-construction | This term is used to differentiate between the Ohio EPA CGP requirements that are applicable to storm water runoff after construction is complete and the site is stabilized ("Post-Construction Storm Water Management Requirements" in Part III.G.2.e. of the CGP) from construction phase requirements associated with sediment and erosion control.
| Tributary area | The drainage area contributing to a particular location, such as a proposed BMP, storm water inlet, or stream. Unless otherwise noted, the tool generally uses this term in reference to the area draining to a BMP.
| Volume control | With respect to this tool, "volume control" refers to the ability for a BMP to infiltrate rain water to reduce the total volume of storm water runoff that discharges from a site. "Volume control," as used within this tool, does not refer to the Ohio EPA CGP requirement to detain the water quality volume. Although any vegetated BMP has the potential to result in incidental infiltration, select BMPs are specifically designed to promote the infiltration of large volumes of water (e.g., the water quality volume). Within the Detailed BMP Matrix, BMPs that promote infiltration are specifically marked as "Yes" under "Volume Control," while vegetated BMPs that may result in some incidental infiltration are marked as "Incidental." BMPs that do not allow for infiltration (such as those with concrete structures) or that are designed for soil types with low infiltration rates (such as BMPs with underdrains) are marked as "No" under "Volume Control."
Notes: 1. https://en.wikipedia.org/wiki/Strahler_number, http://www.epa.ohio.gov/portals/35/storm/CGP-PC-Q&A2.pdf
Return to MAIN MENU
PREVIOUS: Acronyms
LEGEND
| General | These cells require no action by the user, and include general text such as questions, directions, units, and headings.
| Guidance | These cells provide guidance for the overall tab, as well as on select questions.
| Shortcut | These cells provide shortcuts to other locations within the tool. Click on the text to go to the linked destination.