**Report of Electrical Tests**

**DATE \_\_\_ / \_\_\_/ \_\_\_ SHEET \_\_\_\_ OF \_\_\_\_\_**

**PROJECT NO. \_\_\_\_\_\_\_\_\_\_\_\_\_\_ COUNTY \_\_\_\_\_\_\_\_ ROUTE \_\_\_\_\_SECTION \_\_\_\_\_**

|  |  |
| --- | --- |
| **Short Circuit Test 632.28(C)** | **Circuit Continuity Test 632.28(D)****(Zero or Negligible Ohms Required)** |
| **Pairs****Measured** | **Ohms** | **Pairs****Measured** | **Ohms** | **Pairs****Measured** | **Ohms** | **Pairs****Measured** | **Ohms** |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |

**Report of Electrical Tests (continued)**

|  |  |  |
| --- | --- | --- |
| **Cable Insulation (Megger) Test 632.28(E)****(All Conductors of Cables** **Jumpered Together)** |  | **Ground Test For Traffic Signals****632.28(B) and 625.19** |
| **Locations****Cabinet/Pull box** | **Type of****Cable** | **MegOhms****10 Min.** |  | **Ground Rod Location:****Station of Pole or Cabinet** | **Resistance****Ohms** |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |

|  |  |
| --- | --- |
| **Functional Test: 632.28(F)** | OK |
| Incoming AC 120 Volts ..................................................................................................... | □ |
| Cabinet Fan, Thermostat, Convenience Outlet, and Lamp Operation ............................. | □ |
| Controller timing set as per plan or approved by the Engineer ........................................ | □ |
| Switches ........................................................................................................................... | □ |
| Controller functions ........................................................................................................... | □ |
| Detector Units detect all vehicles, including small motorcycles\* ....................................... | □ |
| Detector Units do not give frequent extraneous calls ....................................................... | □ |
| Flash Switch Transfer ....................................................................................................... | □ |
| Monitor is not activated by normal operations .................................................................. | □ |
| Monitor is not activated by manipulation of cabinet switches ........................................... | □ |
| Monitor activated by artificial conflict ................................................................................ | □ |
| Signal transfers to flash when monitor is disconnected .................................................... | □ |

\*See **TEM Section 450-11.6.**