**Nominal Mounting Height and LED Luminaire Output**

|  |  |
| --- | --- |
| **Mounting Height****(Nominal)****Feet**  | **LED Luminaire Output****(Lumens)** |
| 32.5 | 6500-7000 |
| 35 | 7000-9000 |
| 40 | 9000-10500 |
| 50 | 15,000-18,000 |